## Sheet1
k | b | [53 empty] | k | b
3.1418 | -1.7032 | [22 empty] | PYTHON |  | Rmin | Rmax | DeltaR | R0 | MR | [23 empty] | R(H), V(H): | 3.466 | 30031.8 |  |  |  | Max Delta y | Linearity error | [27 empty] | 17610.74 | 6.415%
[5 empty] | UPPER RIGHT | UPPER LEFT | LOWER RIGHT | LOWER LEFT |  |  |  | UPPER RIGHT | UPPER LEFT | LOWER RIGHT | LOWER LEFT | [10 empty] | 29546.24 | 30524.36 | 978.12 | 30029.48 | 3.257% | [29 empty] | 6.2004 | 0.02099%
[5 empty] | Desvios à média | [6 empty] | V (mV) |  |  |  |  | For 0V | [6 empty] | Ensaio 3 - Masma |  |  |  |  | 29546.24 | 3.31% | [24 empty] | OTHER DATA |  |  | Linearity error |  |  |  | Ensaio 4 - INSPECT | [30 empty] | OTHER DATA
Valor reta | Delta Y | Linearity error | Max |  | LL | LR | HL | HR | Centro | Erro I (A) | I (A) | LL | LR | HL | HR | Centro | LL | LR | HL | HR | Centro | Average | Erro V (V)
-61.4171 | 0.022949 | 0.00037365 | 0.8661% |  | -0.0651% | 0.4232% | -0.3906% | 0.09766% | -0.0651% | 0.0066 | -19.0065 | 61.4 | 61.7 | 61.2 | 61.5 | 61.4 | [5 empty] | 61.44 | 0.26 | Index | Magnetic Field Set Point (Oe) | Erro | Magnetic Field Coils Current (A) | Erro | Bias Current (A) | Erro | Output Voltage Average (V) | Erro | Output Voltage Max (V) | Erro | Output Voltage Min (V) | Output Voltage STD (V) | Erro | Resistance (Ohm) | Erro | MR (%) | Erro | dRdH3Points (Ohm/Oe) | Erro | dVdH3 Points [V/Oe] | Erro | dMRdH3 Points [%/Oe] | Erro | DRDH2 Points [Ohm/Oe] | Erro | DVDH2Points [V/Oe] | Erro | DMRDH2Points [%/Oe] | Erro |  | ReverseFieldSweep | TRUE | [5 empty] | Index | Magnetic Field Set Point (Oe) | Erro | Magnetic Field Coils Current (A) | Erro | Bias Current (A) | Erro | Output Voltage Average (V) | Erro | Output Voltage Max (V) | Erro | Output Voltage Min (V) | Erro | Output Voltage STD (V) | Erro | Resistance (Ohm) | Erro | MR (%) | Erro | dRdH3Points (Ohm/Oe) | Erro | dVdH3 Points [V/Oe] | Erro | dMRdH3 Points [%/Oe] | Erro | DRDH2 Points [Ohm/Oe] | Erro | DVDH2Points [V/Oe] | Erro | DMRDH2Points [%/Oe] | Erro | ReverseFieldSweep | TRUE
-58.2753 | 0.0047086 | 8.0799e-05 |  |  | -0.1373% | 0.3775% | -0.3089% | 0.03432% | 0.03432% | 0.0066 | -18.0065 | 58.2 | 58.5 | 58.1 | 58.3 | 58.3 | [5 empty] | 58.28 | 0.22 | 1 | -141 |  | -4.0232 |  | 1e-06 |  | 0.029549 |  | 0.02955 |  | 0.029549 | 3.3466e-07 |  | 29549.3 |  | 0.01 | [14 empty] | ReverseCurrentSweep | FALSE |  | Curve | Delta Y | Linearity error |  | 1 | -141 |  | -4.0232 |  | 1e-06 |  | 0.017565 |  | 0.017565 |  | 0.017564 |  | 2.7125e-07 |  | 17564.69 |  | 0.01 | [13 empty] | ReverseCurrentSweep | FALSE
-55.1335 | 0.013531 | 0.00024543 |  |  | -0.03628% | 0.3266% | -0.3991% | 0.1451% | -0.03628% | 0.0066 | -17.0065 | 55.1 | 55.3 | 54.9 | 55.2 | 55.1 | [5 empty] | 55.12 | 0.22 | 2 | -121 |  | -3.4525 |  | 1e-06 |  | 0.029615 |  | 0.029616 |  | 0.029615 | 4.7917e-07 |  | 29615.48 |  | 0.23 |  | 3.3495 |  | 3.3495e-06 |  | -0.32451 |  | 3.309 |  | 3.309e-06 |  | 0.011474 |  |  | AlternateCurrentSweep | FALSE |  | 29543.0996 | 6.2004 | 0.02099% |  | 2 | -121 |  | -3.4525 |  | 1e-06 |  | 0.017572 |  | 0.017573 |  | 0.017571 |  | 8.3032e-07 |  | 17572.13 |  | 0.06 |  | 0.41395 |  | 4.1395e-07 |  | 0.0010592 |  | 0.3721 |  | 3.721e-07 |  | 0.0025953 |  | AlternateCurrentSweep | FALSE
-51.9918 | 0.068229 | 0.0013123 |  |  | -0.1153% | 0.8452% | -0.4994% | -0.1153% | -0.1153% | 0.0066 | -16.0065 | 52 | 52.5 | 51.8 | 52 | 52 | [5 empty] | 52.06 | 0.44 | 3 | -101 |  | -2.8818 |  | 1e-06 |  | 0.029683 |  | 0.029684 |  | 0.029683 | 4.4e-07 |  | 29683.28 |  | 0.46 |  | 3.404 |  | 3.404e-06 |  | 0.011335 |  | 3.39 |  | 3.39e-06 |  | 0.011568 |  |  | VoltageErrorMonitoring | False |  | 29612.4188 | 3.0612 | 0.01034% |  | 3 | -101 |  | -2.8818 |  | 1e-06 |  | 0.017581 |  | 0.017581 |  | 0.017581 |  | 1.7344e-07 |  | 17581.25 |  | 0.11 |  | 0.53995 |  | 5.3995e-07 |  | 0.0023567 |  | 0.4558 |  | 4.558e-07 |  | 0.0035536 |  | VoltageErrorMonitoring | False
-48.85 | 0.010011 | 0.00020494 |  |  | -0.0819% | 0.3276% | -0.2867% | -0.0819% | 0.1229% | 0.0066 | -15.0065 | 48.8 | 49 | 48.7 | 48.8 | 48.9 | [5 empty] | 48.84 | 0.16 | 4 | -81 |  | -2.3112 |  | 1e-06 |  | 0.029752 |  | 0.029752 |  | 0.029751 | 3.7202e-07 |  | 29751.64 |  | 0.7 |  | 3.4155 |  | 3.4155e-06 |  | 0.01152 |  | 3.418 |  | 3.418e-06 |  | 0.011551 |  |  | VoltageError | - |  | 29681.738 | 1.542 | 0.005195% |  | 4 | -81 |  | -2.3112 |  | 1e-06 |  | 0.017594 |  | 0.017595 |  | 0.017591 |  | 1.6465e-06 |  | 17593.73 |  | 0.18 |  | 0.7372 |  | 7.372e-07 |  | 0.0030741 |  | 0.6241 |  | 6.241e-07 |  | 0.0048416 |  | VoltageError | -
-45.7083 | 0.028251 | 0.00061808 |  |  | 0.04378% | 0.2627% | -0.394% | 0.04378% | 0.04378% | 0.0066 | -14.0065 | 45.7 | 45.8 | 45.5 | 45.7 | 45.7 | [5 empty] | 45.68 | 0.18 | 5 | -61 |  | -1.7405 |  | 1e-06 |  | 0.02982 |  | 0.029821 |  | 0.029819 | 5.4037e-07 |  | 29819.9 |  | 0.93 |  | 3.4375 |  | 3.4375e-06 |  | 0.011559 |  | 3.413 |  | 3.413e-06 |  | 0.011717 |  |  | Voltage Integration Time [ms] | 10 |  | 29751.0572 | 0.58276 | 0.001959% |  | 5 | -61 |  | -1.7405 |  | 1e-06 |  | 0.017611 |  | 0.017611 |  | 0.017611 |  | 2.2613e-07 |  | 17610.74 |  | 0.28 |  | 1.1475 |  | 1.1475e-06 |  | 0.0041971 |  | 0.8503 |  | 8.503e-07 |  | 0.0082262 |  | Voltage Integration Time [ms] | 10
-42.5665 | 0.0064914 | 0.0001525 |  |  | -0.141% | 0.3289% | -0.3759% | 0.09398% | 0.09398% | 0.0066 | -13.0065 | 42.5 | 42.7 | 42.4 | 42.6 | 42.6 | [5 empty] | 42.56 | 0.16 | 6 | -41 |  | -1.1699 |  | 1e-06 |  | 0.029889 |  | 0.029889 |  | 0.029889 | 1.8547e-07 |  | 29889.14 |  | 1.16 |  | 3.403 |  | 3.403e-06 |  | 0.22371 |  | 3.462 |  | 3.462e-06 |  | 0.011507 |  |  | NumberOfAverages | 5 |  | 29820.3764 | -0.47644 | -0.001598% |  | 6 | -41 |  | -1.1699 |  | 1e-06 |  | 0.01764 |  | 0.01764 |  | 0.017639 |  | 4.8239e-07 |  | 17639.63 |  | 0.44 |  | 2.6212 |  | 2.6212e-06 |  | 0.1569 |  | 1.4447 |  | 1.4447e-06 |  | 0.01526 |  | NumberOfAverages | 5
-39.4247 | 0.0047314 | 0.00012001 |  |  | -0.1776% | 0.2029% | -0.3044% | 0.2029% | 0.0761% | 0.0066 | -12.0065 | 39.35 | 39.5 | 39.3 | 39.5 | 39.45 | [5 empty] | 39.42 | 0.12 | 7 | -40 |  | -1.1413 |  | 1e-06 |  | 0.029893 |  | 0.029893 |  | 0.029892 | 5.678e-07 |  | 29892.54 |  | 1.17 |  | 3.41 |  | 3.41e-06 |  | 0.15813 |  | 3.4 |  | 3.4e-06 |  | 0.011609 |  |  | FieldStabilizationTime [s] | 1000 |  | 29889.6956 | -0.55564 | -0.001859% |  | 7 | -40 |  | -1.1413 |  | 1e-06 |  | 0.017642 |  | 0.017644 |  | 0.017641 |  | 8.5852e-07 |  | 17642.31 |  | 0.46 |  | 2.1903 |  | 2.1903e-06 |  | 0.11221 |  | 2.68 |  | 2.68e-06 |  | 0.0068955 |  | FieldStabilizationTime [s] | 1000
-36.283 | 0.037029 | 0.0010205 |  |  | -0.05507% | 0.4956% | -0.3304% | -0.05507% | -0.05507% | 0.0066 | -11.0065 | 36.3 | 36.5 | 36.2 | 36.3 | 36.3 | [5 empty] | 36.32 | 0.18 | 8 | -38 |  | -1.0843 |  | 1e-06 |  | 0.029899 |  | 0.0299 |  | 0.029899 | 2.2804e-07 |  | 29899.4 |  | 1.2 |  | 3.405 |  | 3.405e-06 |  | 0.0086804 |  | 3.43 |  | 3.43e-06 |  | 0.01144 |  |  | MaximumBiasSlope [mA/s] | 0.001 |  | 29893.1616 | -0.6216 | -0.002079% |  | 8 | -38 |  | -1.0843 |  | 1e-06 |  | 0.017645 |  | 0.017645 |  | 0.017644 |  | 4.9033e-07 |  | 17644.73 |  | 0.47 |  | 1.737 |  | 1.737e-06 |  | 0.0072617 |  | 1.211 |  | 1.211e-06 |  | 0.012886 |  | MaximumBiasSlope [mA/s] | 0.001
-33.1412 | 0.038789 | 0.0011704 |  |  | 0.06028% | 0.3617% | -0.5425% | 0.06028% | 0.06028% | 0.0066 | -10.0065 | 33.2 | 33.3 | 33 | 33.2 | 33.2 | [5 empty] | 33.18 | 0.18 | 9 | -36 |  | -1.0272 |  | 1e-06 |  | 0.029906 |  | 0.029906 |  | 0.029906 | 1.4967e-07 |  | 29906.16 |  | 1.22 |  | 3.92 |  | 3.92e-06 |  | 0.011523 |  | 3.38 |  | 3.38e-06 |  | 0.015095 |  |  | MaximumFieldSlope [Oe/s] | 75 |  | 29900.0935 | -0.69352 | -0.002319% |  | 9 | -36 |  | -1.0272 |  | 1e-06 |  | 0.017649 |  | 0.017649 |  | 0.017649 |  | 2.6023e-07 |  | 17649.26 |  | 0.5 |  | 2.4955 |  | 2.4955e-06 |  | 0.0098892 |  | 2.263 |  | 2.263e-06 |  | 0.015533 |  | MaximumFieldSlope [Oe/s] | 75
-29.9995 | 0.040549 | 0.0013516 |  |  | -0.1332% | 0.5326% | -0.466% | 0.1997% | -0.1332% | 0.0066 | -9.0065 | 30 | 30.2 | 29.9 | 30.1 | 30 | [5 empty] | 30.04 | 0.16 | 10 | -34 |  | -0.97013 |  | 1e-06 |  | 0.029915 |  | 0.029918 |  | 0.029914 | 1.3363e-06 |  | 29915.08 |  | 1.25 |  | 3.435 |  | 3.435e-06 |  | 0.013266 |  | 4.46 |  | 4.46e-06 |  | 0.0081567 |  |  | FieldScanValues [Oe] | -141.00, -121.00, -101.00, -81.00, -61.00, -41.00, -40.00, -38.00, -36.00, -34.00, -32.00, -30.00, -28.00, -26.00, -24.00, -22.00, -20.00, -18.00, -16.00, -14.00, -12.00, -10.00, -8.00, -6.00, -4.00, -2.00, +0.00 , +2.00 , +4.00 , +6.00 , +8.00 , +10.00 , +12.00 , +14.00 , +16.00 , +18.00 , +20.00 , +22.00 , +24.00 , +26.00 , +28.00 , +30.00 , +32.00 , +34.00 , +36.00 , +38.00 , +40.00 , +60.00 , +80.00 , +100.00 , +120.00 , +140.00 , +141.00 , +141.00 , +140.00 , +120.00 , +100.00 , +80.00 , +60.00 , +40.00 , +38.00 , +36.00 , +34.00 , +32.00 , +30.00 , +28.00 , +26.00 , +24.00 , +22.00 , +20.00 , +18.00 , +16.00 , +14.00 , +12.00 , +10.00 , +8.00 , +6.00 , +4.00 , +2.00 , +0.00 , -2.00, -4.00, -6.00, -8.00, -10.00, -12.00, -14.00, -16.00, -18.00, -20.00, -22.00, -24.00, -26.00, -28.00, -30.00, -32.00, -34.00, -36.00, -38.00, -40.00, -41.00, -61.00, -81.00, -101.00, -121.00, -141.00 | . | 29907.0254 | -0.86544 | -0.002894% |  | 10 | -34 |  | -0.97013 |  | 1e-06 |  | 0.017655 |  | 0.017657 |  | 0.017654 |  | 9.3416e-07 |  | 17654.72 |  | 0.53 |  | 3.071 |  | 3.071e-06 |  | 0.014207 |  | 2.728 |  | 2.728e-06 |  | 0.019439 |  | FieldScanValues [Oe] | -141.00, -121.00, -101.00, -81.00, -61.00, -41.00, -40.00, -38.00, -36.00, -34.00, -32.00, -30.00, -28.00, -26.00, -24.00, -22.00, -20.00, -18.00, -16.00, -14.00, -12.00, -10.00, -8.00, -6.00, -4.00, -2.00, +0.00 , +2.00 , +4.00 , +6.00 , +8.00 , +10.00 , +12.00 , +14.00 , +16.00 , +18.00 , +20.00 , +22.00 , +24.00 , +26.00 , +28.00 , +30.00 , +32.00 , +34.00 , +36.00 , +38.00 , +40.00 , +60.00 , +80.00 , +100.00 , +120.00 , +140.00 , +141.00 , +141.00 , +140.00 , +120.00 , +100.00 , +80.00 , +60.00 , +40.00 , +38.00 , +36.00 , +34.00 , +32.00 , +30.00 , +28.00 , +26.00 , +24.00 , +22.00 , +20.00 , +18.00 , +16.00 , +14.00 , +12.00 , +10.00 , +8.00 , +6.00 , +4.00 , +2.00 , +0.00 , -2.00, -4.00, -6.00, -8.00, -10.00, -12.00, -14.00, -16.00, -18.00, -20.00, -22.00, -24.00, -26.00, -28.00, -30.00, -32.00, -34.00, -36.00, -38.00, -40.00, -41.00, -61.00, -81.00, -101.00, -121.00, -141.00 | .
-26.8373 | 0.02273 | 0.00084696 |  |  | -0.2234% | 0.5212% | -0.5957% | 0.1489% | 0.1489% | 0.0001 | -8 | 26.8 | 27 | 26.7 | 26.9 | 26.9 | [5 empty] | 26.86 | 0.16 | 11 | -32 |  | -0.91306 |  | 1e-06 |  | 0.02992 |  | 0.029921 |  | 0.029919 | 6.5422e-07 |  | 29919.9 |  | 1.26 |  | 2.855 |  | 2.855e-06 |  | 0.011625 |  | 2.41 |  | 2.41e-06 |  | 0.011169 |  |  | CurrentScanValues [A] | 1e-06 |  | 29913.9574 | 1.1226 | 0.003753% |  | 11 | -32 |  | -0.91306 |  | 1e-06 |  | 0.017662 |  | 0.017663 |  | 0.01766 |  | 8.8165e-07 |  | 17661.54 |  | 0.57 |  | 3.2775 |  | 3.2775e-06 |  | 0.017484 |  | 3.414 |  | 3.414e-06 |  | 0.017885 |  | CurrentScanValues [A] | 1e-06
-23.6955 | 0.03551 | 0.0014986 |  |  | -0.2536% | 0.5917% | -0.6762% | 0.1691% | 0.1691% | 0.0001 | -7 | 23.6 | 23.8 | 23.5 | 23.7 | 23.7 | [5 empty] | 23.66 | 0.16 | 12 | -30 |  | -0.85599 |  | 1e-06 |  | 0.029927 |  | 0.029927 |  | 0.029926 | 4.5166e-07 |  | 29926.5 |  | 1.29 |  | 3.465 |  | 3.465e-06 |  | 0.0096618 |  | 3.3 |  | 3.3e-06 |  | 0.012286 |  |  | FieldMax [Oe] | 141 |  | 29920.8893 | -0.98928 | -0.003306% |  | 12 | -30 |  | -0.85599 |  | 1e-06 |  | 0.017668 |  | 0.017669 |  | 0.017666 |  | 1.1735e-06 |  | 17667.83 |  | 0.6 |  | 3.442 |  | 3.442e-06 |  | 0.01866 |  | 3.141 |  | 3.141e-06 |  | 0.021313 |  | FieldMax [Oe] | 141
-20.5538 | 0.02625 | 0.0012771 |  |  | -0.3887% | 0.5831% | -0.3887% | 0.09718% | 0.09718% | 0.0001 | -6 | 20.5 | 20.7 | 20.5 | 20.6 | 20.6 | [5 empty] | 20.58 | 0.12 | 13 | -28 |  | -0.79893 |  | 1e-06 |  | 0.029934 |  | 0.029934 |  | 0.029933 | 2.0591e-07 |  | 29933.76 |  | 1.31 |  | 3.585 |  | 3.585e-06 |  | 0.011726 |  | 3.63 |  | 3.63e-06 |  | 0.011981 |  |  | FieldMin [Oe] | -141 |  | 29927.8212 | -1.3212 | -0.004415% |  | 13 | -28 |  | -0.79893 |  | 1e-06 |  | 0.017675 |  | 0.017676 |  | 0.017675 |  | 3.9972e-07 |  | 17675.31 |  | 0.64 |  | 3.741 |  | 3.741e-06 |  | 0.019596 |  | 3.743 |  | 3.743e-06 |  | 0.02129 |  | FieldMin [Oe] | -141
-17.412 | 0.00199 | 0.00011429 |  |  | -0.05744% | 1.091% | -0.6318% | -0.6318% | 0.2298% | 0.0001 | -5 | 17.4 | 17.6 | 17.3 | 17.3 | 17.45 | [5 empty] | 17.41 | 0.19 | 14 | -26 |  | -0.74186 |  | 1e-06 |  | 0.029941 |  | 0.029942 |  | 0.02994 | 6.1188e-07 |  | 29940.84 |  | 1.34 |  | 3.375 |  | 3.375e-06 |  | 0.012132 |  | 3.54 |  | 3.54e-06 |  | 0.010864 |  |  | BiasCurrentMax [A] | 1e-06 |  | 29934.7531 | -0.99312 | -0.003318% |  | 14 | -26 |  | -0.74186 |  | 1e-06 |  | 0.017683 |  | 0.017684 |  | 0.017682 |  | 4.9092e-07 |  | 17682.79 |  | 0.69 |  | 4.4225 |  | 4.4225e-06 |  | 0.021298 |  | 3.739 |  | 3.739e-06 |  | 0.029074 |  | BiasCurrentMax [A] | 1e-06
-14.2702 | 0.02977 | 0.0020862 |  |  | 0% | 0.6993% | -0.6993% | 0% | 0% | 0.0001 | -4 | 14.3 | 14.4 | 14.2 | 14.3 | 14.3 | [5 empty] | 14.3 | 0.1 | 15 | -24 |  | -0.68479 |  | 1e-06 |  | 0.029947 |  | 0.029948 |  | 0.029947 | 2.245e-07 |  | 29947.26 |  | 1.36 |  | 3.305 |  | 3.305e-06 |  | 0.011422 |  | 3.21 |  | 3.21e-06 |  | 0.011507 |  |  | BiasCurrentMin [A] | 1e-06 |  | 29941.685 | -0.84504 | -0.002822% |  | 15 | -24 |  | -0.68479 |  | 1e-06 |  | 0.017693 |  | 0.017694 |  | 0.017693 |  | 3.9347e-07 |  | 17693 |  | 0.74 |  | 5.086 |  | 5.086e-06 |  | 0.025178 |  | 5.106 |  | 5.106e-06 |  | 0.028846 |  | BiasCurrentMin [A] | 1e-06
-11.1285 | 0.03153 | 0.0028333 |  |  | -0.5376% | 1.254% | -1.434% | 0.3584% | 0.3584% | 0.0001 | -3 | 11.1 | 11.3 | 11 | 11.2 | 11.2 | [5 empty] | 11.16 | 0.16 | 16 | -22 |  | -0.62773 |  | 1e-06 |  | 0.029954 |  | 0.029955 |  | 0.029954 | 4.7582e-07 |  | 29954.06 |  | 1.38 |  | 3.23 |  | 3.23e-06 |  | 0.011185 |  | 3.4 |  | 3.4e-06 |  | 0.010357 | [5 empty] | 29948.617 | -1.357 | -0.004531% |  | 16 | -22 |  | -0.62773 |  | 1e-06 |  | 0.017703 |  | 0.017703 |  | 0.017702 |  | 5.9433e-07 |  | 17703.13 |  | 0.8 |  | 5.3485 |  | 5.3485e-06 |  | 0.028956 |  | 5.066 |  | 5.066e-06 |  | 0.032063
-7.9867 | 0.00671 | 0.00084015 |  |  | 0.2506% | 1.504% | -2.256% | 0.2506% | 0.2506% | 0.0001 | -2 | 8 | 8.1 | 7.8 | 8 | 8 | [5 empty] | 7.98 | 0.18 | 17 | -20 |  | -0.57066 |  | 1e-06 |  | 0.02996 |  | 0.029961 |  | 0.02996 | 1.833e-07 |  | 29960.18 |  | 1.4 |  | 3.48 |  | 3.48e-06 |  | 0.010931 |  | 3.06 |  | 3.06e-06 |  | 0.0132 |  |  | MR [%] | 3.31 |  | 29955.5489 | -1.4889 | -0.00497% |  | 17 | -20 |  | -0.57066 |  | 1e-06 |  | 0.017714 |  | 0.017715 |  | 0.017714 |  | 2.8154e-07 |  | 17714.4 |  | 0.87 |  | 6.107 |  | 6.107e-06 |  | 0.03045 |  | 5.631 |  | 5.631e-06 |  | 0.037484 |  | MR [%] | 6.71
-4.8449 | 0.01505 | 0.0031063 |  |  | -1.235% | 0.823% | -1.235% | 0.823% | 0.823% | 0.0001 | -1 | 4.8 | 4.9 | 4.8 | 4.9 | 4.9 | [5 empty] | 4.86 | 0.1 | 18 | -18 |  | -0.5136 |  | 1e-06 |  | 0.029968 |  | 0.029968 |  | 0.029967 | 3.6551e-07 |  | 29967.98 |  | 1.43 |  | 3.805 |  | 3.805e-06 |  | 0.011777 |  | 3.9 |  | 3.9e-06 |  | 0.012557 |  |  | Ibias [A] | 1e-06 |  | 29962.4808 | -2.3008 | -0.007679% |  | 18 | -18 |  | -0.5136 |  | 1e-06 |  | 0.017728 |  | 0.017728 |  | 0.017727 |  | 3.4925e-07 |  | 17727.56 |  | 0.94 |  | 7.432 |  | 7.432e-06 |  | 0.034769 |  | 6.583 |  | 6.583e-06 |  | 0.047152 |  | Ibias [A] | 1e-06
-1.7032 | 0.01319 | 0.0077443 |  |  | 6.509% | 12.43% | 0.5917% | 6.509% | 6.509% | 0.0001 | 0 | 1.8 | 1.9 | 1.7 | 1.8 | 1.8 | 1.5 | 1.6 | 1.6 | 1.6 | 1.6 | 1.69 | 0.21 | 19 | -16 |  | -0.45653 |  | 1e-06 |  | 0.029975 |  | 0.029975 |  | 0.029975 | 8.9443e-08 |  | 29975.4 |  | 1.45 |  | 3.3 |  | 3.3e-06 |  | 0.012877 |  | 3.71 |  | 3.71e-06 |  | 0.0097813 | CASAS DECIMAIS!! |  | Rmin [Ohm] | 29546.24 |  | 29969.4127 | -1.4327 | -0.004781% |  | 19 | -16 |  | -0.45653 |  | 1e-06 |  | 0.017744 |  | 0.017745 |  | 0.017744 |  | 3.9113e-07 |  | 17744.12 |  | 1.04 |  | 9.899 |  | 9.899e-06 |  | 0.042312 |  | 8.281 |  | 8.281e-06 |  | 0.065578 |  | Rmin [Ohm] | 17562.24
1.4386 | 0.00143 | 0.00099404 |  |  | 4.167% | -2.778% | 4.167% | -2.778% | -2.778% | 0.0001 | 1 | -1.5 | -1.4 | -1.5 | -1.4 | -1.4 | [5 empty] | -1.44 | 0.1 | 20 | -14 |  | -0.39946 |  | 1e-06 |  | 0.029981 |  | 0.029983 |  | 0.029979 | 1.2797e-06 |  | 29981.18 |  | 1.47 |  | 3.44 |  | 3.44e-06 |  | 0.011168 |  | 2.89 |  | 2.89e-06 |  | 0.013504 |  |  | Rmax [Ohm] | 30524.36 |  | 29976.3446 | -0.94464 | -0.003151% |  | 20 | -14 |  | -0.39946 |  | 1e-06 |  | 0.017767 |  | 0.017768 |  | 0.017767 |  | 2.3962e-07 |  | 17767.16 |  | 1.17 |  | 13.798 |  | 1.3798e-05 |  | 0.056357 |  | 11.517 |  | 1.1517e-05 |  | 0.091554 |  | Rmax [Ohm] | 18740.39
4.5803 | 0.03967 | 0.0086609 |  |  | 1.732% | 1.732% | -0.4329% | -2.597% | -0.4329% | 0.0001 | 2 | -4.7 | -4.7 | -4.6 | -4.5 | -4.6 | [5 empty] | -4.62 | 0.12 | 21 | -12 |  | -0.3424 |  | 1e-06 |  | 0.029989 |  | 0.02999 |  | 0.029989 | 4.8415e-07 |  | 29989.16 |  | 1.5 |  | 3.73 |  | 3.73e-06 |  | 0.011642 |  | 3.99 |  | 3.99e-06 |  | 0.011744 |  |  | delta R [Ohm] | 978.12 |  | 29983.2766 | -2.0966 | -0.006992% |  | 21 | -12 |  | -0.3424 |  | 1e-06 |  | 0.017799 |  | 0.017801 |  | 0.017797 |  | 1.2609e-06 |  | 17799.32 |  | 1.35 |  | 19.4665 |  | 1.9467e-05 |  | 0.078555 |  | 16.079 |  | 1.6079e-05 |  | 0.13013 |  | delta R [Ohm] | 1178.148
7.7221 | 0.04791 | 0.0062043 |  |  | 0.3861% | 0.3861% | 0.3861% | -0.9009% | -0.2574% | 0.0001 | 3 | -7.8 | -7.8 | -7.8 | -7.7 | -7.75 | [5 empty] | -7.77 | 0.1 | 22 | -10 |  | -0.28533 |  | 1e-06 |  | 0.029996 |  | 0.029996 |  | 0.029996 | 2.8983e-07 |  | 29996.1 |  | 1.52 |  | 3.45 |  | 3.45e-06 |  | 0.012623 |  | 3.47 |  | 3.47e-06 |  | 0.011609 |  |  | Vmin [V] | 0.029546 |  | 29990.2085 | -1.0485 | -0.003496% |  | 22 | -10 |  | -0.28533 |  | 1e-06 |  | 0.017845 |  | 0.017846 |  | 0.017844 |  | 3.9373e-07 |  | 17845.02 |  | 1.61 |  | 25.437 |  | 2.5437e-05 |  | 0.11083 |  | 22.854 |  | 2.2854e-05 |  | 0.15955 |  | Vmin [V] | 0.017562
10.8639 | 0.03615 | 0.0033275 |  |  | 0.4587% | 0.9174% | -1.63e-14% | -0.9174% | -0.4587% | 0.0001 | 4 | -10.95 | -11 | -10.9 | -10.8 | -10.85 | [5 empty] | -10.9 | 0.1 | 23 | -8 |  | -0.22826 |  | 1e-06 |  | 0.030003 |  | 0.030003 |  | 0.030003 | 1.6248e-07 |  | 30002.96 |  | 1.55 |  | 3.4 |  | 3.4e-06 |  | 0.011675 |  | 3.43 |  | 3.43e-06 |  | 0.011406 |  |  | Vmax [V] | 0.030524 |  | 29997.1404 | -1.0404 | -0.003468% |  | 23 | -8 |  | -0.22826 |  | 1e-06 |  | 0.017901 |  | 0.017901 |  | 0.017901 |  | 2.8724e-07 |  | 17901.06 |  | 1.93 |  | 28.973 |  | 2.8973e-05 |  | 0.14482 |  | 28.02 |  | 2.802e-05 |  | 0.1704 |  | Vmax [V] | 0.01874
14.0056 | 0.05439 | 0.0038834 |  |  | 0.2845% | 0.2845% | -0.4267% | 0.2845% | -0.4267% | 0.0001 | 5 | -14.1 | -14.1 | -14 | -14.1 | -14 | [5 empty] | -14.06 | 0.1 | 24 | -6 |  | -0.1712 |  | 1e-06 |  | 0.03001 |  | 0.03001 |  | 0.030009 | 2.8284e-07 |  | 30009.7 |  | 1.57 |  | 3.27 |  | 3.27e-06 |  | 0.011506 |  | 3.37 |  | 3.37e-06 |  | 0.010729 |  |  | delta V [V] | 0.00097812 |  | 30004.0723 | -1.1123 | -0.003707% |  | 24 | -6 |  | -0.1712 |  | 1e-06 |  | 0.017961 |  | 0.017962 |  | 0.01796 |  | 5.0238e-07 |  | 17960.92 |  | 2.27 |  | 30.398 |  | 3.0398e-05 |  | 0.16495 |  | 29.926 |  | 2.9926e-05 |  | 0.17577 |  | delta V [V] | 0.0011781
17.1474 | 0.00263 | 0.00015338 |  |  | 0.2915% | 0.2915% | -0.2915% | 0% | -0.2915% | 0.0001 | 6 | -17.2 | -17.2 | -17.1 | -17.15 | -17.1 | [5 empty] | -17.15 | 0.1 | 25 | -4 |  | -0.11413 |  | 1e-06 |  | 0.030016 |  | 0.030017 |  | 0.030015 | 5.4259e-07 |  | 30016.04 |  | 1.59 |  | 3.42 |  | 3.42e-06 |  | 0.011066 |  | 3.17 |  | 3.17e-06 |  | 0.012421 |  |  | Voltage Error (STD) [V] | 4.5572e-06 |  | 30011.0042 | -1.3042 | -0.004346% |  | 25 | -4 |  | -0.11413 |  | 1e-06 |  | 0.018023 |  | 0.018023 |  | 0.018022 |  | 3.8401e-07 |  | 18022.66 |  | 2.62 |  | 30.8 |  | 3.08e-05 |  | 0.17306 |  | 30.87 |  | 3.087e-05 |  | 0.17498 |  | Voltage Error (STD) [V] | 2.6846e-06
20.2891 | 0.04087 | 0.0020144 |  |  | 0.3443% | 0.8362% | -0.3935% | -0.6394% | -0.1476% | 0.0001 | 7 | -20.4 | -20.5 | -20.25 | -20.2 | -20.3 | [5 empty] | -20.33 | 0.17 | 26 | -2 |  | -0.057066 |  | 1e-06 |  | 0.030023 |  | 0.030024 |  | 0.030023 | 1.3267e-07 |  | 30023.38 |  | 1.61 |  | 3.36 |  | 3.36e-06 |  | 0.011574 |  | 3.67 |  | 3.67e-06 |  | 0.010323 |  |  | Voltage Error (PtP) [V] | 1.28e-05 |  | 30017.9362 | -1.8962 | -0.006317% |  | 26 | -2 |  | -0.057066 |  | 1e-06 |  | 0.018084 |  | 0.018085 |  | 0.018083 |  | 4.484e-07 |  | 18084.12 |  | 2.97 |  | 30.084 |  | 3.0084e-05 |  | 0.17535 |  | 30.73 |  | 3.073e-05 |  | 0.16762 |  | Voltage Error (PtP) [V] | 7.27e-06
23.4309 | 0.00089 | 3.7984e-05 |  |  | 0.2988% | 0.2988% | -0.128% | -0.3414% | -0.128% | 0.0001 | 8 | -23.5 | -23.5 | -23.4 | -23.35 | -23.4 | [5 empty] | -23.43 | 0.1 | 27 | 0 |  | 0 |  | 1e-06 |  | 0.030029 |  | 0.030031 |  | 0.030027 | 1.2655e-06 |  | 30029.48 |  | 1.64 |  | 3.58 |  | 3.58e-06 |  | 0.011371 |  | 3.05 |  | 3.05e-06 |  | 0.01391 |  |  | TC Score [0-6] | 6 |  | 30024.8681 | -1.4881 | -0.004956% |  | 27 | 0 |  | 0 |  | 1e-06 |  | 0.018143 |  | 0.018143 |  | 0.018142 |  | 4.6391e-07 |  | 18142.99 |  | 3.31 |  | 29.686 |  | 2.9686e-05 |  | 0.17128 |  | 29.438 |  | 2.9438e-05 |  | 0.17045 |  | TC Score [0-6] | 6
26.5931 | 0.073071 | 0.0027478 |  |  | 0.3017% | 0.6787% | -0.4525% | -0.4525% | -0.07541% | 0.0066 | 9.0065 | -26.6 | -26.7 | -26.4 | -26.4 | -26.5 | [5 empty] | -26.52 | 0.18 | 28 | 2 |  | 0.057066 |  | 1e-06 |  | 0.030038 |  | 0.030038 |  | 0.030037 | 2.6077e-07 |  | 30037.7 |  | 1.66 |  | 3.73 |  | 3.73e-06 |  | 0.012115 |  | 4.11 |  | 4.11e-06 |  | 0.011338 |  |  | H(20% Up) [Oe] | -83.86 |  | 30031.8 | -2.32 | -0.007725% |  | 28 | 2 |  | 0.057066 |  | 1e-06 |  | 0.018203 |  | 0.018203 |  | 0.018202 |  | 2.3401e-07 |  | 18202.86 |  | 3.65 |  | 29.8895 |  | 2.9889e-05 |  | 0.16901 |  | 29.934 |  | 2.9934e-05 |  | 0.16994 |  | H(20% Up) [Oe] | -12.09
29.7348 | 0.034831 | 0.0011714 |  |  | 1.196e-14% | 0.6734% | -0.3367% | -0.3367% | 1.196e-14% | 0.0066 | 10.0065 | -29.7 | -29.9 | -29.6 | -29.6 | -29.7 | [5 empty] | -29.7 | 0.2 | 29 | 4 |  | 0.11413 |  | 1e-06 |  | 0.030044 |  | 0.030045 |  | 0.030044 | 5.4037e-07 |  | 30044.4 |  | 1.69 |  | 3.415 |  | 3.415e-06 |  | 0.012623 |  | 3.35 |  | 3.35e-06 |  | 0.011778 |  |  | H(50% Up) [Oe] | 1.42 |  | 30038.7319 | -1.0319 | -0.003435% |  | 29 | 4 |  | 0.11413 |  | 1e-06 |  | 0.018263 |  | 0.018263 |  | 0.018262 |  | 3.361e-07 |  | 18262.55 |  | 3.99 |  | 29.9465 |  | 2.9946e-05 |  | 0.17017 |  | 29.845 |  | 2.9845e-05 |  | 0.17109 |  | H(50% Up) [Oe] | 0.28
32.8766 | 0.056591 | 0.0017213 |  |  | 0.2438% | 0.5484% | -0.3656% | -0.3656% | -0.06094% | 0.0066 | 11.0065 | -32.9 | -33 | -32.7 | -32.7 | -32.8 | [5 empty] | -32.82 | 0.18 | 30 | 6 |  | 0.1712 |  | 1e-06 |  | 0.030051 |  | 0.030052 |  | 0.030051 | 5.0833e-07 |  | 30051.36 |  | 1.71 |  | 3.51 |  | 3.51e-06 |  | 0.011557 |  | 3.48 |  | 3.48e-06 |  | 0.011981 |  |  | H(80% Up) [Oe] | 85.45 |  | 30045.6638 | -1.2638 | -0.004206% |  | 30 | 6 |  | 0.1712 |  | 1e-06 |  | 0.018323 |  | 0.018323 |  | 0.018322 |  | 3.9016e-07 |  | 18322.65 |  | 4.33 |  | 29.4405 |  | 2.9441e-05 |  | 0.17049 |  | 30.048 |  | 3.0048e-05 |  | 0.16418 |  | H(80% Up) [Oe] | 12.25
36.0184 | 0.031649 | 0.00087868 |  |  | 0.1387% | 0.4161% | -0.2774% | -0.1387% | -0.1387% | 0.0066 | 12.0065 | -36.1 | -36.2 | -35.95 | -36 | -36 | [5 empty] | -36.05 | 0.15 | 31 | 8 |  | 0.22826 |  | 1e-06 |  | 0.030058 |  | 0.030059 |  | 0.030058 | 4.8826e-07 |  | 30058.44 |  | 1.73 |  | 3.47 |  | 3.47e-06 |  | 0.011878 |  | 3.54 |  | 3.54e-06 |  | 0.011507 |  |  | H(20% Down) [Oe] | -83.75 |  | 30052.5958 | -1.2358 | -0.004112% |  | 31 | 8 |  | 0.22826 |  | 1e-06 |  | 0.01838 |  | 0.018381 |  | 0.01838 |  | 1.0419e-07 |  | 18380.31 |  | 4.66 |  | 29.621 |  | 2.9621e-05 |  | 0.16761 |  | 28.833 |  | 2.8833e-05 |  | 0.17315 |  | H(20% Down) [Oe] | -13.48
39.1601 | 0.020111 | 0.00051357 |  |  | 0.1533% | 0.4088% | -0.1022% | -0.1022% | -0.3577% | 0.0066 | 13.0065 | -39.2 | -39.3 | -39.1 | -39.1 | -39 | [5 empty] | -39.14 | 0.16 | 32 | 10 |  | 0.28533 |  | 1e-06 |  | 0.030065 |  | 0.030066 |  | 0.030065 | 5.748e-07 |  | 30065.24 |  | 1.76 |  | 3.36 |  | 3.36e-06 |  | 0.011743 |  | 3.4 |  | 3.4e-06 |  | 0.011237 |  |  | H(50% Down) [Oe] | 1.04 |  | 30059.5277 | -1.0877 | -0.003618% |  | 32 | 10 |  | 0.28533 |  | 1e-06 |  | 0.018441 |  | 0.018444 |  | 0.01844 |  | 1.232e-06 |  | 18441.13 |  | 5 |  | 29.445 |  | 2.9445e-05 |  | 0.16864 |  | 30.409 |  | 3.0409e-05 |  | 0.16217 |  | H(50% Down) [Oe] | -1.16
42.3019 | 0.041871 | 0.00098982 |  |  | 0.3313% | 0.3313% | -0.3786% | -0.3786% | 0.09465% | 0.0066 | 14.0065 | -42.4 | -42.4 | -42.1 | -42.1 | -42.3 | [5 empty] | -42.26 | 0.16 | 33 | 12 |  | 0.3424 |  | 1e-06 |  | 0.030072 |  | 0.030072 |  | 0.030071 | 4.6217e-07 |  | 30071.88 |  | 1.78 |  | 3.29 |  | 3.29e-06 |  | 0.011371 |  | 3.32 |  | 3.32e-06 |  | 0.011034 |  |  | H(80% Down) [Oe] | 85.12 |  | 30066.4596 | -1.2196 | -0.004056% |  | 33 | 12 |  | 0.3424 |  | 1e-06 |  | 0.018498 |  | 0.018499 |  | 0.018498 |  | 5.8136e-07 |  | 18498.09 |  | 5.33 |  | 27.7625 |  | 2.7763e-05 |  | 0.16764 |  | 28.481 |  | 2.8481e-05 |  | 0.15399 |  | H(80% Down) [Oe] | 10.74
45.4436 | 0.043631 | 0.00096012 |  |  | 0% | 0.4405% | -0.2203% | 0% | -0.2203% | 0.0066 | 15.0065 | -45.4 | -45.6 | -45.3 | -45.4 | -45.3 | [5 empty] | -45.4 | 0.2 | 34 | 14 |  | 0.39946 |  | 1e-06 |  | 0.030078 |  | 0.030079 |  | 0.030078 | 5.7619e-07 |  | 30078.4 |  | 1.8 |  | 3.295 |  | 3.295e-06 |  | 0.011134 |  | 3.26 |  | 3.26e-06 |  | 0.01127 |  |  | delta H Up [Oe] | 169.32 |  | 30073.3915 | -1.5115 | -0.005026% |  | 34 | 14 |  | 0.39946 |  | 1e-06 |  | 0.018552 |  | 0.018553 |  | 0.018552 |  | 5.3759e-07 |  | 18552.18 |  | 5.64 |  | 26.5155 |  | 2.6516e-05 |  | 0.15806 |  | 27.044 |  | 2.7044e-05 |  | 0.14797 |  | delta H Up [Oe] | 24.34
48.5854 | 0.065391 | 0.0013459 |  |  | 0.1649% | 0.5771% | -0.2473% | -0.2473% | -0.2473% | 0.0066 | 16.0065 | -48.6 | -48.8 | -48.4 | -48.4 | -48.4 | [5 empty] | -48.52 | 0.28 | 35 | 16 |  | 0.45653 |  | 1e-06 |  | 0.030085 |  | 0.030086 |  | 0.030084 | 6.9742e-07 |  | 30085.06 |  | 1.82 |  | 3.465 |  | 3.465e-06 |  | 0.011151 |  | 3.33 |  | 3.33e-06 |  | 0.012184 |  |  | delta H Down [Oe] | 168.87 |  | 30080.3234 | -1.9234 | -0.006394% |  | 35 | 16 |  | 0.45653 |  | 1e-06 |  | 0.018604 |  | 0.018605 |  | 0.018604 |  | 4.5209e-07 |  | 18604.15 |  | 5.93 |  | 24.5005 |  | 2.4501e-05 |  | 0.15096 |  | 25.987 |  | 2.5987e-05 |  | 0.13104 |  | delta H Down [Oe] | 24.23
51.7272 | 0.047151 | 0.00091154 |  |  | 0.0387% | 0.4257% | -0.3483% | 0.0387% | -0.1548% | 0.0066 | 17.0065 | -51.7 | -51.9 | -51.5 | -51.7 | -51.6 | [5 empty] | -51.68 | 0.22 | 36 | 18 |  | 0.5136 |  | 1e-06 |  | 0.030092 |  | 0.030094 |  | 0.030092 | 7.5525e-07 |  | 30092.26 |  | 1.85 |  | 3.55 |  | 3.55e-06 |  | 0.011726 |  | 3.6 |  | 3.6e-06 |  | 0.011846 |  |  | Hf [Oe] | 1.23 |  | 30087.2554 | -2.1954 | -0.007297% |  | 36 | 18 |  | 0.5136 |  | 1e-06 |  | 0.01865 |  | 0.018651 |  | 0.01865 |  | 4.3292e-07 |  | 18650.18 |  | 6.19 |  | 20.689 |  | 2.0689e-05 |  | 0.13949 |  | 23.014 |  | 2.3014e-05 |  | 0.10457 |  | Hf [Oe] | -0.44
54.8689 | 0.018911 | 0.00034467 |  |  | 0.09116% | 0.4558% | -0.2735% | -0.09116% | -0.1823% | 0.0066 | 18.0065 | -54.9 | -55.1 | -54.7 | -54.8 | -54.75 | [5 empty] | -54.85 | 0.25 | 37 | 20 |  | 0.57066 |  | 1e-06 |  | 0.030099 |  | 0.0301 |  | 0.030098 | 5.7131e-07 |  | 30099.26 |  | 1.87 |  | 3.425 |  | 3.425e-06 |  | 0.012014 |  | 3.5 |  | 3.5e-06 |  | 0.011338 |  |  | Hc [Oe] | 0.19 |  | 30094.1873 | -1.9273 | -0.006404% |  | 37 | 20 |  | 0.57066 |  | 1e-06 |  | 0.018687 |  | 0.018688 |  | 0.018687 |  | 4.0645e-07 |  | 18686.91 |  | 6.4 |  | 14.265 |  | 1.4265e-05 |  | 0.11779 |  | 18.364 |  | 1.8364e-05 |  | 0.057886 |  | Hc [Oe] | 0.72
58.0107 | 0.010671 | 0.00018396 |  |  | 0% | 0.3448% | -0.1724% | 0% | -0.1724% | 0.0066 | 19.0065 | -58 | -58.2 | -57.9 | -58 | -57.9 | [5 empty] | -58 | 0.2 | 38 | 22 |  | 0.62773 |  | 1e-06 |  | 0.030106 |  | 0.030107 |  | 0.030105 | 5.2383e-07 |  | 30105.96 |  | 1.89 |  | 3.38 |  | 3.38e-06 |  | 0.011591 |  | 3.35 |  | 3.35e-06 |  | 0.011541 |  |  | dMRdH3 max [%/Oe] | 0.22695 |  | 30101.1192 | -1.8592 | -0.006177% |  | 38 | 22 |  | 0.62773 |  | 1e-06 |  | 0.018707 |  | 0.018708 |  | 0.018706 |  | 4.0236e-07 |  | 18707.24 |  | 6.52 |  | 8.027 |  | 8.027e-06 |  | 0.081214 |  | 10.166 |  | 1.0166e-05 |  | 0.033526 |  | dMRdH3 max [%/Oe] | 0.17558
|  |  |  | Average | 0.3244% | 0.8012% | -0.3056% | -0.04139% | 0.05581% | [14 empty] | 39 | 24 |  | 0.68479 |  | 1e-06 |  | 0.030113 |  | 0.030114 |  | 0.030112 | 6.6151e-07 |  | 30112.78 |  | 1.92 |  | 3.49 |  | 3.49e-06 |  | 0.011439 |  | 3.41 |  | 3.41e-06 |  | 0.012083 |  |  | dMRdH3 min [%/Oe] | -0.32451 |  | 30108.0511 | -2.0911 | -0.006945% |  | 39 | 24 |  | 0.68479 |  | 1e-06 |  | 0.018719 |  | 0.018719 |  | 0.018719 |  | 2.4839e-07 |  | 18719.02 |  | 6.59 |  | 4.6725 |  | 4.6725e-06 |  | 0.0457 |  | 5.888 |  | 5.888e-06 |  | 0.019684 |  | dMRdH3 min [%/Oe] | -0.06395
[12 empty] | Erro I (A) | Average | Erro V (V) | [9 empty] | 40 | 26 |  | 0.74186 |  | 1e-06 |  | 0.03012 |  | 0.030121 |  | 0.030119 | 8.9532e-07 |  | 30119.92 |  | 1.94 |  | 3.445 |  | 3.445e-06 |  | 0.011811 |  | 3.57 |  | 3.57e-06 |  | 0.011237 |  |  | dRdH3 max [Ohm/Oe] | 4.4339 |  | 30114.983 | -2.203 | -0.007315% |  | 40 | 26 |  | 0.74186 |  | 1e-06 |  | 0.018726 |  | 0.018727 |  | 0.018725 |  | 3.9827e-07 |  | 18725.93 |  | 6.63 |  | 2.471 |  | 2.471e-06 |  | 0.026602 |  | 3.457 |  | 3.457e-06 |  | 0.0084556 |  | dRdH3 max [Ohm/Oe] | 30.8405
[11 empty] | -19.0065 | 0.0066 | 61.44 | 0.26 | [9 empty] | 41 | 28 |  | 0.79893 |  | 1e-06 |  | 0.030127 |  | 0.030127 |  | 0.030126 | 4.1761e-07 |  | 30126.56 |  | 1.96 |  | 3.36 |  | 3.36e-06 |  | 0.011658 |  | 3.32 |  | 3.32e-06 |  | 0.011507 |  |  | dRdH3 min [Ohm/Oe] | 0 |  | 30121.915 | -1.995 | -0.006623% |  | 41 | 28 |  | 0.79893 |  | 1e-06 |  | 0.018729 |  | 0.018729 |  | 0.018728 |  | 4.8014e-07 |  | 18728.9 |  | 6.64 |  | 0.4845 |  | 4.845e-07 |  | 0.014068 |  | 1.485 |  | 1.485e-06 |  | -0.0029381 |  | dRdH3 min [Ohm/Oe] | -1.9442
[11 empty] | -18.0065 | 0.0066 | 58.28 | 0.22 | [9 empty] | 42 | 30 |  | 0.85599 |  | 1e-06 |  | 0.030133 |  | 0.030134 |  | 0.030132 | 6.7112e-07 |  | 30133.36 |  | 1.99 |  | 3.39 |  | 3.39e-06 |  | 0.011371 |  | 3.4 |  | 3.4e-06 |  | 0.01144 |  |  | dVdH3 max [V/Oe] | 4.4339e-06 |  | 30128.8469 | -2.2869 | -0.00759% |  | 42 | 30 |  | 0.85599 |  | 1e-06 |  | 0.018728 |  | 0.018729 |  | 0.018727 |  | 4.2256e-07 |  | 18727.87 |  | 6.64 |  | 0.099 |  | 9.9e-08 |  | 0.0027584 |  | -0.516 |  | -5.16e-07 |  | 0.0040655 |  | dVdH3 max [V/Oe] | 3.084e-05
[11 empty] | -17.0065 | 0.0066 | 55.12 | 0.22 | [9 empty] | 43 | 32 |  | 0.91306 |  | 1e-06 |  | 0.03014 |  | 0.03014 |  | 0.03014 | 1.4697e-07 |  | 30140.12 |  | 2.01 |  | 3.45 |  | 3.45e-06 |  | 0.011472 |  | 3.38 |  | 3.38e-06 |  | 0.011914 |  |  | dVdH3 min [V/Oe] | 0 |  | 30135.7788 | -2.4188 | -0.008026% |  | 43 | 32 |  | 0.91306 |  | 1e-06 |  | 0.018729 |  | 0.01873 |  | 0.018728 |  | 6.6101e-07 |  | 18729.3 |  | 6.65 |  | 0.182 |  | 1.82e-07 |  | 0.00056363 |  | 0.714 |  | 7.14e-07 |  | -0.0019929 |  | dVdH3 min [V/Oe] | -1.9442e-06
[11 empty] | -16.0065 | 0.0066 | 52.06 | 0.44 | [9 empty] | 44 | 34 |  | 0.97013 |  | 1e-06 |  | 0.030147 |  | 0.030148 |  | 0.030146 | 4.3174e-07 |  | 30147.16 |  | 2.03 |  | 3.49 |  | 3.49e-06 |  | 0.011675 |  | 3.52 |  | 3.52e-06 |  | 0.01171 |  |  | DMRDH2 max [%/Oe] | 0.2377 |  | 30142.7107 | -2.5907 | -0.008595% |  | 44 | 34 |  | 0.97013 |  | 1e-06 |  | 0.018729 |  | 0.018729 |  | 0.018728 |  | 4.904e-07 |  | 18728.6 |  | 6.64 |  | 0.253 |  | 2.53e-07 |  | 0.0010362 |  | -0.35 |  | -3.5e-07 |  | 0.0048741 |  | DMRDH2 max [%/Oe] | 0.17617
[11 empty] | -15.0065 | 0.0066 | 48.84 | 0.16 | [9 empty] | 45 | 36 |  | 1.0272 |  | 1e-06 |  | 0.030154 |  | 0.030155 |  | 0.030152 | 1.0008e-06 |  | 30154.08 |  | 2.06 |  | 3.64 |  | 3.64e-06 |  | 0.011811 |  | 3.46 |  | 3.46e-06 |  | 0.012929 |  |  | DMRDH2 min [%/Oe] | 0 |  | 30149.6426 | -2.4826 | -0.008234% |  | 45 | 36 |  | 1.0272 |  | 1e-06 |  | 0.01873 |  | 0.018733 |  | 0.018728 |  | 1.9134e-06 |  | 18730.31 |  | 6.65 |  | 1.159 |  | 1.159e-06 |  | 0.0014404 |  | 0.856 |  | 8.56e-07 |  | 0.0083247 |  | DMRDH2 min [%/Oe] | -0.067032
[11 empty] | -14.0065 | 0.0066 | 45.68 | 0.18 | [9 empty] | 46 | 38 |  | 1.0843 |  | 1e-06 |  | 0.030162 |  | 0.030163 |  | 0.030161 | 7.3593e-07 |  | 30161.72 |  | 2.08 |  | 3.68 |  | 3.68e-06 |  | 0.012318 |  | 3.82 |  | 3.82e-06 |  | 0.011981 |  |  | DRdH2 max [Ohm/Oe] | 4.48 |  | 30156.5746 | -2.4946 | -0.008272% |  | 46 | 38 |  | 1.0843 |  | 1e-06 |  | 0.018733 |  | 0.018734 |  | 0.018733 |  | 3.8213e-07 |  | 18733.23 |  | 6.67 |  | 1.322 |  | 1.322e-06 |  | 0.0065985 |  | 1.462 |  | 1.462e-06 |  | 0.0067303 |  | DRdH2 max [Ohm/Oe] | 30.94
[11 empty] | -13.0065 | 0.0066 | 42.56 | 0.16 | [9 empty] | 47 | 40 |  | 1.1413 |  | 1e-06 |  | 0.030169 |  | 0.03017 |  | 0.030168 | 7.823e-07 |  | 30168.8 |  | 2.11 |  | 3.5395 |  | 3.5395e-06 |  | 0.011861 |  | 3.54 |  | 3.54e-06 |  | 0.011964 |  |  | DRDH2 min [Ohm/Oe] | 0 |  | 30163.5065 | -1.7865 | -0.005923% |  | 47 | 40 |  | 1.1413 |  | 1e-06 |  | 0.018736 |  | 0.018736 |  | 0.018735 |  | 5.0149e-07 |  | 18735.6 |  | 6.68 |  | 1.0963 |  | 1.0963e-06 |  | 0.007628 |  | 1.182 |  | 1.182e-06 |  | 0.0013637 |  | DRDH2 min [Ohm/Oe] | -2.012
[11 empty] | -12.0065 | 0.0066 | 39.42 | 0.12 | [9 empty] | 48 | 60 |  | 1.712 |  | 1e-06 |  | 0.030239 |  | 0.03024 |  | 0.030238 | 6.5727e-07 |  | 30239.5 |  | 2.35 |  | 3.5215 |  | 3.5215e-06 |  | 0.0065805 |  | 3.535 |  | 3.535e-06 |  | 0.011873 |  |  | DVDH2 max [V/Oe] | 4.48e-06 |  | 30170.4384 | -1.6384 | -0.00543% |  | 48 | 60 |  | 1.712 |  | 1e-06 |  | 0.01874 |  | 0.018741 |  | 0.01874 |  | 5.4109e-07 |  | 18740.39 |  | 6.71 |  | 0.10345 |  | 1.0345e-07 |  | 0.0010182 |  | 0.2395 |  | 2.395e-07 |  | -0.00018563 |  | DVDH2 max [V/Oe] | 3.094e-05
[11 empty] | -11.0065 | 0.0066 | 36.32 | 0.18 | [9 empty] | 49 | 80 |  | 2.2826 |  | 1e-06 |  | 0.03031 |  | 0.03031 |  | 0.030309 | 3.3823e-07 |  | 30309.66 |  | 2.58 |  | 3.5025 |  | 3.5025e-06 |  | 0.011917 |  | 3.508 |  | 3.508e-06 |  | 0.011836 |  |  | DVDH2 min [V/Oe] | 0 |  | 30239.7576 | -0.2576 | -0.0008519% |  | 49 | 80 |  | 2.2826 |  | 1e-06 |  | 0.01874 |  | 0.01874 |  | 0.018739 |  | 2.5695e-07 |  | 18739.74 |  | 6.7 |  | -0.07095 |  | -7.095e-08 |  | 0.00058897 |  | -0.0326 |  | -3.26e-08 |  | -0.00062236 |  | DVDH2 min [V/Oe] | -2.012e-06
[11 empty] | -10.0065 | 0.0066 | 33.18 | 0.18 | [9 empty] | 50 | 100 |  | 2.8533 |  | 1e-06 |  | 0.03038 |  | 0.030381 |  | 0.030378 | 6.957e-07 |  | 30379.6 |  | 2.82 |  | 3.4995 |  | 3.4995e-06 |  | 0.011853 |  | 3.497 |  | 3.497e-06 |  | 0.011853 | [5 empty] | 30309.0768 | 0.5832 | 0.001924% |  | 50 | 100 |  | 2.8533 |  | 1e-06 |  | 0.018738 |  | 0.018738 |  | 0.018737 |  | 1.4751e-07 |  | 18737.55 |  | 6.69 |  | -0.2565 |  | -2.565e-07 |  | -0.00040394 |  | -0.1093 |  | -1.093e-07 |  | -0.0022987
[11 empty] | -9.0065 | 0.0066 | 30.04 | 0.16 | [9 empty] | 51 | 120 |  | 3.424 |  | 1e-06 |  | 0.03045 |  | 0.03045 |  | 0.030449 | 5.2383e-07 |  | 30449.64 |  | 3.06 |  | 3.507 |  | 3.507e-06 |  | 0.011843 |  | 3.502 |  | 3.502e-06 |  | 0.011886 | [5 empty] | 30378.396 | 1.204 | 0.003963% |  | 51 | 120 |  | 3.424 |  | 1e-06 |  | 0.018729 |  | 0.018731 |  | 0.018724 |  | 2.6846e-06 |  | 18729.48 |  | 6.65 |  | -0.4962 |  | -4.962e-07 |  | -0.0014603 |  | -0.4037 |  | -4.037e-07 |  | -0.0033521
[11 empty] | -8 | 0.0001 | 26.86 | 0.16 | [9 empty] | 52 | 140 |  | 3.9946 |  | 1e-06 |  | 0.03052 |  | 0.030522 |  | 0.030518 | 1.2608e-06 |  | 30519.88 |  | 3.3 |  | 4.4339 |  | 4.4339e-06 |  | 0.22695 |  | 3.512 |  | 3.512e-06 |  | 0.015163 | [5 empty] | 30447.7152 | 1.9248 | 0.006322% |  | 52 | 140 |  | 3.9946 |  | 1e-06 |  | 0.018718 |  | 0.018718 |  | 0.018717 |  | 4.0657e-07 |  | 18717.7 |  | 6.58 |  | -1.9442 |  | -1.9442e-06 |  | -0.06395 |  | -0.5887 |  | -5.887e-07 |  | -0.011456
[11 empty] | -7 | 0.0001 | 23.66 | 0.16 | [9 empty] | 53 | 141 |  | 4.0232 |  | 1e-06 |  | 0.030524 |  | 0.030525 |  | 0.030524 | 3.3823e-07 |  | 30524.36 |  | 3.31 | [7 empty] | 4.48 |  | 4.48e-06 |  | 0.2377 | [5 empty] | 30517.0344 | 2.8456 | 0.009325% |  | 53 | 141 |  | 4.0232 |  | 1e-06 |  | 0.018716 |  | 0.018717 |  | 0.018715 |  | 7.1106e-07 |  | 18715.69 |  | 6.57 | [7 empty] | -2.012 |  | -2.012e-06 |  | -0.067032
[11 empty] | -6 | 0.0001 | 20.58 | 0.12 | [9 empty] | 54 | 141 |  | 4.0232 |  | 1e-06 |  | 0.030524 |  | 0.030524 |  | 0.030523 | 3.2496e-07 |  | 30523.62 |  | 3.31 | [17 empty] | 30520.5004 | 3.8596 | 0.01265% |  | 54 | 141 |  | 4.0232 |  | 1e-06 |  | 0.018716 |  | 0.018717 |  | 0.018716 |  | 3.8049e-07 |  | 18716.13 |  | 6.57
[11 empty] | -5 | 0.0001 | 17.41 | 0.19 | [9 empty] | 55 | 140 |  | 3.9946 |  | 1e-06 |  | 0.03052 |  | 0.03052 |  | 0.030519 | 4.0497e-07 |  | 30519.8 |  | 3.3 |  | 3.804 |  | 3.804e-06 |  | 0.0024158 |  | 3.82 |  | 3.82e-06 |  | 0.011788 | [5 empty] | 30520.5004 | 3.1196 | 0.01022% |  | 55 | 140 |  | 3.9946 |  | 1e-06 |  | 0.018717 |  | 0.018718 |  | 0.018717 |  | 3.1934e-07 |  | 18717.09 |  | 6.58 |  | -0.94175 |  | -9.4175e-07 |  | -0.0024096 |  | -0.96 |  | -9.6e-07 |  | -0.0032843
[11 empty] | -4 | 0.0001 | 14.3 | 0.1 | [9 empty] | 56 | 120 |  | 3.424 |  | 1e-06 |  | 0.03045 |  | 0.030451 |  | 0.030449 | 4.8e-07 |  | 30450.14 |  | 3.06 |  | 3.4825 |  | 3.4825e-06 |  | 0.0062167 |  | 3.483 |  | 3.483e-06 |  | 0.011785 | [5 empty] | 30517.0344 | 2.7656 | 0.009062% |  | 56 | 120 |  | 3.424 |  | 1e-06 |  | 0.018729 |  | 0.018729 |  | 0.018728 |  | 5.6333e-07 |  | 18728.63 |  | 6.64 |  | -0.4311 |  | -4.311e-07 |  | -0.0017786 |  | -0.5768 |  | -5.768e-07 |  | -0.0016251
[11 empty] | -3 | 0.0001 | 11.16 | 0.16 | [9 empty] | 57 | 100 |  | 2.8533 |  | 1e-06 |  | 0.030381 |  | 0.030381 |  | 0.03038 | 4.7749e-07 |  | 30380.5 |  | 2.82 |  | 3.48 |  | 3.48e-06 |  | 0.011785 |  | 3.482 |  | 3.482e-06 |  | 0.011771 | [5 empty] | 30447.7152 | 2.4248 | 0.007964% |  | 57 | 100 |  | 2.8533 |  | 1e-06 |  | 0.018734 |  | 0.018735 |  | 0.018734 |  | 4.3454e-07 |  | 18734.34 |  | 6.67 |  | -0.231 |  | -2.31e-07 |  | -0.0024544 |  | -0.2854 |  | -2.854e-07 |  | -0.0010056
[11 empty] | -2 | 0.0001 | 7.98 | 0.18 | [9 empty] | 58 | 80 |  | 2.2826 |  | 1e-06 |  | 0.030311 |  | 0.030311 |  | 0.030311 | 1.9596e-07 |  | 30310.94 |  | 2.59 |  | 3.4735 |  | 3.4735e-06 |  | 0.011777 |  | 3.478 |  | 3.478e-06 |  | 0.011741 | [5 empty] | 30378.396 | 2.104 | 0.006926% |  | 58 | 80 |  | 2.2826 |  | 1e-06 |  | 0.018738 |  | 0.018738 |  | 0.018737 |  | 3.5852e-07 |  | 18737.87 |  | 6.69 |  | -0.09915 |  | -9.915e-08 |  | -0.0013151 |  | -0.1766 |  | -1.766e-07 |  | -0.00012356
[11 empty] | -1 | 0.0001 | 4.86 | 0.1 | [9 empty] | 59 | 60 |  | 1.712 |  | 1e-06 |  | 0.030242 |  | 0.030242 |  | 0.030241 | 5.3516e-07 |  | 30241.56 |  | 2.35 |  | 3.4785 |  | 3.4785e-06 |  | 0.011755 |  | 3.469 |  | 3.469e-06 |  | 0.011805 | [5 empty] | 30309.0768 | 1.8632 | 0.006147% |  | 59 | 60 |  | 1.712 |  | 1e-06 |  | 0.018738 |  | 0.018739 |  | 0.018738 |  | 1.9457e-07 |  | 18738.3 |  | 6.7 |  | 0.00425 |  | 4.25e-09 |  | -0.00056448 |  | -0.0217 |  | -2.17e-08 |  | 0.00017196
[11 empty] | 0 | 0.0001 | 1.69 | 0.21 | [9 empty] | 60 | 40 |  | 1.1413 |  | 1e-06 |  | 0.030172 |  | 0.030172 |  | 0.030171 | 4.6043e-07 |  | 30171.8 |  | 2.12 |  | 3.708 |  | 3.708e-06 |  | 0.10838 |  | 3.488 |  | 3.488e-06 |  | 0.012624 | [5 empty] | 30239.7576 | 1.8024 | 0.00596% |  | 60 | 40 |  | 1.1413 |  | 1e-06 |  | 0.018738 |  | 0.018738 |  | 0.018737 |  | 4.4404e-07 |  | 18737.7 |  | 6.69 |  | 0.18365 |  | 1.8365e-07 |  | 0.0015518 |  | 0.0302 |  | 3.02e-08 |  | 0.0011331
[11 empty] | 1 | 0.0001 | -1.44 | 0.1 | [9 empty] | 61 | 38 |  | 1.0843 |  | 1e-06 |  | 0.030164 |  | 0.030165 |  | 0.030164 | 3.7736e-07 |  | 30164.34 |  | 2.09 |  | 3.685 |  | 3.685e-06 |  | 0.065332 |  | 3.73 |  | 3.73e-06 |  | 0.01232 | [5 empty] | 30170.4384 | 1.3616 | 0.004513% |  | 61 | 38 |  | 1.0843 |  | 1e-06 |  | 0.018737 |  | 0.018738 |  | 0.018737 |  | 3.3722e-07 |  | 18737.3 |  | 6.69 |  | 0.5545 |  | 5.545e-07 |  | 0.0014262 |  | 0.199 |  | 1.99e-07 |  | 0.0051816
[11 empty] | 2 | 0.0001 | -4.62 | 0.12 | [9 empty] | 62 | 36 |  | 1.0272 |  | 1e-06 |  | 0.030157 |  | 0.030158 |  | 0.030156 | 7.0029e-07 |  | 30157.06 |  | 2.07 |  | 3.66 |  | 3.66e-06 |  | 0.012471 |  | 3.64 |  | 3.64e-06 |  | 0.012455 | [5 empty] | 30163.5065 | 0.83352 | 0.002763% |  | 62 | 36 |  | 1.0272 |  | 1e-06 |  | 0.018735 |  | 0.018736 |  | 0.018734 |  | 9.1365e-07 |  | 18735.48 |  | 6.68 |  | 0.3965 |  | 3.965e-07 |  | 0.0031569 |  | 0.91 |  | 9.1e-07 |  | -0.0006662
[11 empty] | 3 | 0.0001 | -7.77 | 0.1 | [9 empty] | 63 | 34 |  | 0.97013 |  | 1e-06 |  | 0.03015 |  | 0.03015 |  | 0.030149 | 2.3664e-07 |  | 30149.7 |  | 2.04 |  | 3.36 |  | 3.36e-06 |  | 0.012386 |  | 3.68 |  | 3.68e-06 |  | 0.010289 | [5 empty] | 30156.5746 | 0.48544 | 0.00161% |  | 63 | 34 |  | 0.97013 |  | 1e-06 |  | 0.018736 |  | 0.018736 |  | 0.018735 |  | 3.8578e-07 |  | 18735.71 |  | 6.68 |  | 0.259 |  | 2.59e-07 |  | 0.0022574 |  | -0.117 |  | -1.17e-07 |  | 0.0036157
[11 empty] | 4 | 0.0001 | -10.9 | 0.1 | [9 empty] | 64 | 32 |  | 0.91306 |  | 1e-06 |  | 0.030144 |  | 0.030145 |  | 0.030143 | 6.1774e-07 |  | 30143.62 |  | 2.02 |  | 3.44 |  | 3.44e-06 |  | 0.011371 |  | 3.04 |  | 3.04e-06 |  | 0.012997 | [5 empty] | 30149.6426 | 0.05736 | 0.0001903% |  | 64 | 32 |  | 0.91306 |  | 1e-06 |  | 0.018734 |  | 0.018735 |  | 0.018734 |  | 3.2751e-07 |  | 18734.44 |  | 6.67 |  | 0.811 |  | 8.11e-07 |  | 0.0014745 |  | 0.635 |  | 6.35e-07 |  | 0.00562
[11 empty] | 5 | 0.0001 | -14.06 | 0.1 | [9 empty] | 65 | 30 |  | 0.85599 |  | 1e-06 |  | 0.030136 |  | 0.030136 |  | 0.030136 | 8e-08 |  | 30135.94 |  | 2 |  | 3.59 |  | 3.59e-06 |  | 0.011642 |  | 3.84 |  | 3.84e-06 |  | 0.011304 | [5 empty] | 30142.7107 | 0.90928 | 0.003017% |  | 65 | 30 |  | 0.85599 |  | 1e-06 |  | 0.018732 |  | 0.018733 |  | 0.018732 |  | 1.7286e-07 |  | 18732.47 |  | 6.66 |  | 1.236 |  | 1.236e-06 |  | 0.0046172 |  | 0.987 |  | 9.87e-07 |  | 0.0084556
[11 empty] | 6 | 0.0001 | -17.15 | 0.1 | [9 empty] | 66 | 28 |  | 0.79893 |  | 1e-06 |  | 0.030129 |  | 0.03013 |  | 0.030129 | 2.6533e-07 |  | 30129.26 |  | 1.97 |  | 3.395 |  | 3.395e-06 |  | 0.012149 |  | 3.34 |  | 3.34e-06 |  | 0.011677 | [5 empty] | 30135.7788 | 0.1612 | 0.0005349% |  | 66 | 28 |  | 0.79893 |  | 1e-06 |  | 0.018729 |  | 0.01873 |  | 0.018729 |  | 1.6468e-07 |  | 18729.5 |  | 6.65 |  | 1.3715 |  | 1.3715e-06 |  | 0.0070368 |  | 1.485 |  | 1.485e-06 |  | 0.0071631
[11 empty] | 7 | 0.0001 | -20.33 | 0.17 | [9 empty] | 67 | 26 |  | 0.74186 |  | 1e-06 |  | 0.030122 |  | 0.030123 |  | 0.030122 | 3.3823e-07 |  | 30122.36 |  | 1.95 |  | 3.325 |  | 3.325e-06 |  | 0.011489 |  | 3.45 |  | 3.45e-06 |  | 0.01083 | [5 empty] | 30128.8469 | 0.41312 | 0.001371% |  | 67 | 26 |  | 0.74186 |  | 1e-06 |  | 0.018727 |  | 0.018727 |  | 0.018726 |  | 3.5764e-07 |  | 18726.98 |  | 6.63 |  | 1.9185 |  | 1.9185e-06 |  | 0.0078083 |  | 1.258 |  | 1.258e-06 |  | 0.014685
[11 empty] | 8 | 0.0001 | -23.43 | 0.1 | [9 empty] | 68 | 24 |  | 0.68479 |  | 1e-06 |  | 0.030116 |  | 0.030117 |  | 0.030115 | 5.9867e-07 |  | 30115.96 |  | 1.93 |  | 3.33 |  | 3.33e-06 |  | 0.011252 |  | 3.2 |  | 3.2e-06 |  | 0.01171 | [5 empty] | 30121.915 | 0.44504 | 0.001477% |  | 68 | 24 |  | 0.68479 |  | 1e-06 |  | 0.018722 |  | 0.018722 |  | 0.018721 |  | 3.5792e-07 |  | 18721.83 |  | 6.6 |  | 3.2475 |  | 3.2475e-06 |  | 0.010922 |  | 2.579 |  | 2.579e-06 |  | 0.022298
[11 empty] | 9.0065 | 0.0066 | -26.52 | 0.18 | [9 empty] | 69 | 22 |  | 0.62773 |  | 1e-06 |  | 0.030109 |  | 0.03011 |  | 0.030108 | 5.0833e-07 |  | 30109.04 |  | 1.9 |  | 3.57 |  | 3.57e-06 |  | 0.011269 |  | 3.46 |  | 3.46e-06 |  | 0.012455 | [5 empty] | 30114.983 | 0.97696 | 0.003244% |  | 69 | 22 |  | 0.62773 |  | 1e-06 |  | 0.018714 |  | 0.018715 |  | 0.018714 |  | 3.8307e-07 |  | 18713.99 |  | 6.56 |  | 5.2815 |  | 5.2815e-06 |  | 0.018489 |  | 3.916 |  | 3.916e-06 |  | 0.037848
[11 empty] | 10.0065 | 0.0066 | -29.7 | 0.2 | [9 empty] | 70 | 20 |  | 0.57066 |  | 1e-06 |  | 0.030102 |  | 0.030102 |  | 0.030101 | 5.1923e-07 |  | 30101.68 |  | 1.88 |  | 3.685 |  | 3.685e-06 |  | 0.012082 |  | 3.68 |  | 3.68e-06 |  | 0.012489 | [5 empty] | 30108.0511 | 0.98888 | 0.003284% |  | 70 | 20 |  | 0.57066 |  | 1e-06 |  | 0.018701 |  | 0.018702 |  | 0.0187 |  | 6.9656e-07 |  | 18700.7 |  | 6.48 |  | 9.5845 |  | 9.5845e-06 |  | 0.030069 |  | 6.647 |  | 6.647e-06 |  | 0.071301
[11 empty] | 11.0065 | 0.0066 | -32.82 | 0.18 | [9 empty] | 71 | 18 |  | 0.5136 |  | 1e-06 |  | 0.030094 |  | 0.030095 |  | 0.030094 | 4.5166e-07 |  | 30094.3 |  | 1.85 |  | 3.655 |  | 3.655e-06 |  | 0.012471 |  | 3.69 |  | 3.69e-06 |  | 0.012252 | [5 empty] | 30101.1192 | 0.5608 | 0.001863% |  | 71 | 18 |  | 0.5136 |  | 1e-06 |  | 0.018676 |  | 0.018676 |  | 0.018675 |  | 2.9097e-07 |  | 18675.66 |  | 6.34 |  | 15.1245 |  | 1.5125e-05 |  | 0.054567 |  | 12.522 |  | 1.2522e-05 |  | 0.10094
[11 empty] | 12.0065 | 0.0066 | -36.05 | 0.15 | [9 empty] | 72 | 16 |  | 0.45653 |  | 1e-06 |  | 0.030087 |  | 0.030087 |  | 0.030087 | 3.0067e-07 |  | 30087.06 |  | 1.83 |  | 3.51 |  | 3.51e-06 |  | 0.012369 |  | 3.62 |  | 3.62e-06 |  | 0.011507 | [5 empty] | 30094.1873 | 0.11272 | 0.0003746% |  | 72 | 16 |  | 0.45653 |  | 1e-06 |  | 0.01864 |  | 0.018642 |  | 0.018638 |  | 1.0904e-06 |  | 18640.2 |  | 6.14 |  | 20.485 |  | 2.0485e-05 |  | 0.086107 |  | 17.727 |  | 1.7727e-05 |  | 0.13235
[11 empty] | 13.0065 | 0.0066 | -39.14 | 0.16 | [9 empty] | 73 | 14 |  | 0.39946 |  | 1e-06 |  | 0.03008 |  | 0.030081 |  | 0.03008 | 3.6111e-07 |  | 30080.26 |  | 1.81 |  | 3.455 |  | 3.455e-06 |  | 0.011878 |  | 3.4 |  | 3.4e-06 |  | 0.01188 | [5 empty] | 30087.2554 | -0.19536 | -0.0006493% |  | 73 | 14 |  | 0.39946 |  | 1e-06 |  | 0.018594 |  | 0.018595 |  | 0.018593 |  | 5.3361e-07 |  | 18593.72 |  | 5.87 |  | 25.0135 |  | 2.5014e-05 |  | 0.11663 |  | 23.243 |  | 2.3243e-05 |  | 0.15251
[11 empty] | 14.0065 | 0.0066 | -42.26 | 0.16 | [9 empty] | 74 | 12 |  | 0.3424 |  | 1e-06 |  | 0.030073 |  | 0.030073 |  | 0.030073 | 2.9394e-07 |  | 30073.24 |  | 1.78 |  | 3.28 |  | 3.28e-06 |  | 0.011692 |  | 3.51 |  | 3.51e-06 |  | 0.010323 | [5 empty] | 30080.3234 | -0.06344 | -0.0002109% |  | 74 | 12 |  | 0.3424 |  | 1e-06 |  | 0.01854 |  | 0.018541 |  | 0.01854 |  | 3.0354e-07 |  | 18540.15 |  | 5.57 |  | 27.4455 |  | 2.7446e-05 |  | 0.14241 |  | 26.784 |  | 2.6784e-05 |  | 0.16004
[11 empty] | 15.0065 | 0.0066 | -45.4 | 0.2 | [9 empty] | 75 | 10 |  | 0.28533 |  | 1e-06 |  | 0.030067 |  | 0.030068 |  | 0.030066 | 7.4189e-07 |  | 30067.14 |  | 1.76 |  | 3.295 |  | 3.295e-06 |  | 0.0111 |  | 3.05 |  | 3.05e-06 |  | 0.011981 | [5 empty] | 30073.3915 | -0.15152 | -0.0005038% |  | 75 | 10 |  | 0.28533 |  | 1e-06 |  | 0.018484 |  | 0.018485 |  | 0.018483 |  | 5.3563e-07 |  | 18483.93 |  | 5.25 |  | 29.5235 |  | 2.9523e-05 |  | 0.15625 |  | 28.107 |  | 2.8107e-05 |  | 0.17617
[11 empty] | 16.0065 | 0.0066 | -48.52 | 0.28 | [9 empty] | 76 | 8 |  | 0.22826 |  | 1e-06 |  | 0.03006 |  | 0.030061 |  | 0.03006 | 4.7159e-07 |  | 30060.06 |  | 1.74 |  | 3.395 |  | 3.395e-06 |  | 0.011151 |  | 3.54 |  | 3.54e-06 |  | 0.011 | [5 empty] | 30066.4596 | 0.6804 | 0.002263% |  | 76 | 8 |  | 0.22826 |  | 1e-06 |  | 0.018422 |  | 0.018423 |  | 0.018421 |  | 6.4124e-07 |  | 18422.05 |  | 4.9 |  | 30.4545 |  | 3.0455e-05 |  | 0.16808 |  | 30.94 |  | 3.094e-05 |  | 0.17064
[11 empty] | 17.0065 | 0.0066 | -51.68 | 0.22 | [9 empty] | 77 | 6 |  | 0.1712 |  | 1e-06 |  | 0.030054 |  | 0.030054 |  | 0.030053 | 3.4409e-07 |  | 30053.56 |  | 1.72 |  | 3.245 |  | 3.245e-06 |  | 0.011489 |  | 3.25 |  | 3.25e-06 |  | 0.010966 | [5 empty] | 30059.5277 | 0.53232 | 0.001771% |  | 77 | 6 |  | 0.1712 |  | 1e-06 |  | 0.018362 |  | 0.018363 |  | 0.018362 |  | 2.742e-07 |  | 18362.12 |  | 4.55 |  | 29.719 |  | 2.9719e-05 |  | 0.17338 |  | 29.969 |  | 2.9969e-05 |  | 0.1678
[11 empty] | 18.0065 | 0.0066 | -54.85 | 0.25 | [9 empty] | 78 | 4 |  | 0.11413 |  | 1e-06 |  | 0.030047 |  | 0.030048 |  | 0.030047 | 3.544e-07 |  | 30047.08 |  | 1.7 |  | 3.52 |  | 3.52e-06 |  | 0.010982 |  | 3.24 |  | 3.24e-06 |  | 0.012861 | [5 empty] | 30052.5958 | 0.96424 | 0.003209% |  | 78 | 4 |  | 0.11413 |  | 1e-06 |  | 0.018303 |  | 0.018304 |  | 0.018302 |  | 8.215e-07 |  | 18303.18 |  | 4.22 |  | 29.6375 |  | 2.9637e-05 |  | 0.1692 |  | 29.469 |  | 2.9469e-05 |  | 0.16972
[11 empty] | 19.0065 | 0.0066 | -58 | 0.2 | [9 empty] | 79 | 2 |  | 0.057066 |  | 1e-06 |  | 0.030039 |  | 0.03004 |  | 0.030038 | 7.6785e-07 |  | 30039.48 |  | 1.67 |  | 4.07 |  | 4.07e-06 |  | 0.011912 |  | 3.8 |  | 3.8e-06 |  | 0.014689 | [5 empty] | 30045.6638 | 1.4162 | 0.004713% |  | 79 | 2 |  | 0.057066 |  | 1e-06 |  | 0.018244 |  | 0.018244 |  | 0.018243 |  | 3.9828e-07 |  | 18243.57 |  | 3.88 |  | 29.6285 |  | 2.9628e-05 |  | 0.16873 |  | 29.806 |  | 2.9806e-05 |  | 0.1677
[24 empty] | 80 | 0 |  | 0 |  | 1e-06 |  | 0.030031 |  | 0.030035 |  | 0.030022 | 4.5572e-06 |  | 30030.8 |  | 1.64 |  | 3.295 |  | 3.295e-06 |  | 0.013774 |  | 4.34 |  | 4.34e-06 |  | 0.0076152 | [5 empty] | 30038.7319 | 0.74808 | 0.00249% |  | 80 | 0 |  | 0 |  | 1e-06 |  | 0.018185 |  | 0.018185 |  | 0.018184 |  | 2.0694e-07 |  | 18184.66 |  | 3.54 |  | 29.1595 |  | 2.916e-05 |  | 0.16868 |  | 29.451 |  | 2.9451e-05 |  | 0.16438
[24 empty] | 81 | -2 |  | -0.057066 |  | 1e-06 |  | 0.030026 |  | 0.030027 |  | 0.030025 | 6.4807e-07 |  | 30026.3 |  | 1.62 |  | 3.205 |  | 3.205e-06 |  | 0.011151 |  | 2.25 |  | 2.25e-06 |  | 0.01408 | [5 empty] | 30031.8 | -1 | -0.00333% |  | 81 | -2 |  | -0.057066 |  | 1e-06 |  | 0.018127 |  | 0.018128 |  | 0.018126 |  | 5.6951e-07 |  | 18126.93 |  | 3.22 |  | 29.5525 |  | 2.9552e-05 |  | 0.16601 |  | 28.868 |  | 2.8868e-05 |  | 0.17217
[24 empty] | 82 | -4 |  | -0.11413 |  | 1e-06 |  | 0.030018 |  | 0.030019 |  | 0.030017 | 7.6e-07 |  | 30017.98 |  | 1.6 |  | 3.715 |  | 3.715e-06 |  | 0.010846 |  | 4.16 |  | 4.16e-06 |  | 0.011067 | [5 empty] | 30024.8681 | 1.4319 | 0.004769% |  | 82 | -4 |  | -0.11413 |  | 1e-06 |  | 0.018066 |  | 0.018067 |  | 0.018066 |  | 1.9489e-07 |  | 18066.45 |  | 2.87 |  | 30.3795 |  | 3.0379e-05 |  | 0.16825 |  | 30.237 |  | 3.0237e-05 |  | 0.17379
[24 empty] | 83 | -6 |  | -0.1712 |  | 1e-06 |  | 0.030011 |  | 0.030012 |  | 0.030011 | 2.0591e-07 |  | 30011.44 |  | 1.57 |  | 3.45 |  | 3.45e-06 |  | 0.012572 |  | 3.27 |  | 3.27e-06 |  | 0.012286 | [5 empty] | 30017.9362 | 0.04384 | 0.000146% |  | 83 | -6 |  | -0.1712 |  | 1e-06 |  | 0.018005 |  | 0.018006 |  | 0.018005 |  | 1.3784e-07 |  | 18005.41 |  | 2.52 |  | 30.6975 |  | 3.0698e-05 |  | 0.17296 |  | 30.522 |  | 3.0522e-05 |  | 0.17579
[24 empty] | 84 | -8 |  | -0.22826 |  | 1e-06 |  | 0.030004 |  | 0.030005 |  | 0.030003 | 4.8332e-07 |  | 30004.18 |  | 1.55 |  | 3.46 |  | 3.46e-06 |  | 0.011675 |  | 3.63 |  | 3.63e-06 |  | 0.011135 | [5 empty] | 30011.0042 | 0.43576 | 0.001452% |  | 84 | -8 |  | -0.22826 |  | 1e-06 |  | 0.017944 |  | 0.017944 |  | 0.017943 |  | 4.2889e-07 |  | 17943.66 |  | 2.17 |  | 30.8405 |  | 3.084e-05 |  | 0.17477 |  | 30.873 |  | 3.0873e-05 |  | 0.17542
[24 empty] | 85 | -10 |  | -0.28533 |  | 1e-06 |  | 0.029998 |  | 0.029998 |  | 0.029997 | 5.3292e-07 |  | 29997.6 |  | 1.53 |  | 3.285 |  | 3.285e-06 |  | 0.011709 |  | 3.29 |  | 3.29e-06 |  | 0.011101 | [5 empty] | 30004.0723 | 0.10768 | 0.0003589% |  | 85 | -10 |  | -0.28533 |  | 1e-06 |  | 0.017882 |  | 0.017882 |  | 0.017881 |  | 3.3289e-07 |  | 17882.05 |  | 1.82 |  | 28.7775 |  | 2.8778e-05 |  | 0.17558 |  | 30.808 |  | 3.0808e-05 |  | 0.1523
[24 empty] | 86 | -12 |  | -0.3424 |  | 1e-06 |  | 0.029991 |  | 0.029992 |  | 0.02999 | 5.678e-07 |  | 29991.04 |  | 1.51 |  | 3.405 |  | 3.405e-06 |  | 0.011117 |  | 3.28 |  | 3.28e-06 |  | 0.011947 | [5 empty] | 29997.1404 | 0.4596 | 0.001532% |  | 86 | -12 |  | -0.3424 |  | 1e-06 |  | 0.017829 |  | 0.017829 |  | 0.017828 |  | 2.4295e-07 |  | 17828.55 |  | 1.52 |  | 23.7065 |  | 2.3707e-05 |  | 0.16384 |  | 26.747 |  | 2.6747e-05 |  | 0.11767
[24 empty] | 87 | -14 |  | -0.39946 |  | 1e-06 |  | 0.029984 |  | 0.029985 |  | 0.029983 | 4.5782e-07 |  | 29983.98 |  | 1.48 |  | 3.55 |  | 3.55e-06 |  | 0.011523 |  | 3.53 |  | 3.53e-06 |  | 0.012083 | [5 empty] | 29990.2085 | 0.83152 | 0.002773% |  | 87 | -14 |  | -0.39946 |  | 1e-06 |  | 0.017787 |  | 0.017788 |  | 0.017787 |  | 2.8617e-07 |  | 17787.22 |  | 1.28 |  | 17.334 |  | 1.7334e-05 |  | 0.13497 |  | 20.666 |  | 2.0666e-05 |  | 0.079728
[24 empty] | 88 | -16 |  | -0.45653 |  | 1e-06 |  | 0.029977 |  | 0.029978 |  | 0.029976 | 5.4259e-07 |  | 29976.84 |  | 1.46 |  | 3.48 |  | 3.48e-06 |  | 0.012014 |  | 3.57 |  | 3.57e-06 |  | 0.011474 | [5 empty] | 29983.2766 | 0.70344 | 0.002346% |  | 88 | -16 |  | -0.45653 |  | 1e-06 |  | 0.017759 |  | 0.017761 |  | 0.017758 |  | 1.5436e-06 |  | 17759.22 |  | 1.12 |  | 11.998 |  | 1.1998e-05 |  | 0.098687 |  | 14.002 |  | 1.4002e-05 |  | 0.056906
[24 empty] | 89 | -18 |  | -0.5136 |  | 1e-06 |  | 0.02997 |  | 0.029971 |  | 0.029969 | 5.8172e-07 |  | 29970.06 |  | 1.43 |  | 3.42 |  | 3.42e-06 |  | 0.011777 |  | 3.39 |  | 3.39e-06 |  | 0.011677 | [5 empty] | 29976.3446 | 0.49536 | 0.001653% |  | 89 | -18 |  | -0.5136 |  | 1e-06 |  | 0.017739 |  | 0.01774 |  | 0.017739 |  | 3.7963e-07 |  | 17739.23 |  | 1.01 |  | 8.8295 |  | 8.8295e-06 |  | 0.068307 |  | 9.994 |  | 9.994e-06 |  | 0.043645
[24 empty] | 90 | -20 |  | -0.57066 |  | 1e-06 |  | 0.029963 |  | 0.029964 |  | 0.029963 | 3.7736e-07 |  | 29963.16 |  | 1.41 |  | 3.425 |  | 3.425e-06 |  | 0.011574 |  | 3.45 |  | 3.45e-06 |  | 0.011507 | [5 empty] | 29969.4127 | 0.64728 | 0.00216% |  | 90 | -20 |  | -0.57066 |  | 1e-06 |  | 0.017724 |  | 0.017725 |  | 0.017723 |  | 6.0989e-07 |  | 17723.9 |  | 0.92 |  | 7.2605 |  | 7.2605e-06 |  | 0.050268 |  | 7.665 |  | 7.665e-06 |  | 0.039038
[24 empty] | 91 | -22 |  | -0.62773 |  | 1e-06 |  | 0.029956 |  | 0.029957 |  | 0.029956 | 3.2e-07 |  | 29956.36 |  | 1.39 |  | 3.55 |  | 3.55e-06 |  | 0.011591 |  | 3.4 |  | 3.4e-06 |  | 0.012523 | [5 empty] | 29962.4808 | 0.6792 | 0.002267% |  | 91 | -22 |  | -0.62773 |  | 1e-06 |  | 0.01771 |  | 0.017711 |  | 0.01771 |  | 2.6301e-07 |  | 17710.19 |  | 0.84 |  | 6.4815 |  | 6.4815e-06 |  | 0.041336 |  | 6.856 |  | 6.856e-06 |  | 0.034773
[24 empty] | 92 | -24 |  | -0.68479 |  | 1e-06 |  | 0.029949 |  | 0.02995 |  | 0.029948 | 5.1614e-07 |  | 29948.96 |  | 1.36 |  | 3.515 |  | 3.515e-06 |  | 0.012014 |  | 3.7 |  | 3.7e-06 |  | 0.01127 | [5 empty] | 29955.5489 | 0.81112 | 0.002708% |  | 92 | -24 |  | -0.68479 |  | 1e-06 |  | 0.017698 |  | 0.017698 |  | 0.017698 |  | 2.2114e-07 |  | 17697.97 |  | 0.77 |  | 5.2605 |  | 5.2605e-06 |  | 0.036901 |  | 6.107 |  | 6.107e-06 |  | 0.025133
[24 empty] | 93 | -26 |  | -0.74186 |  | 1e-06 |  | 0.029942 |  | 0.029943 |  | 0.029942 | 2.5298e-07 |  | 29942.3 |  | 1.34 |  | 3.455 |  | 3.455e-06 |  | 0.011895 |  | 3.33 |  | 3.33e-06 |  | 0.012117 | [5 empty] | 29948.617 | 0.34304 | 0.001145% |  | 93 | -26 |  | -0.74186 |  | 1e-06 |  | 0.017689 |  | 0.01769 |  | 0.017689 |  | 4.1379e-07 |  | 17689.15 |  | 0.72 |  | 4.334 |  | 4.334e-06 |  | 0.029949 |  | 4.414 |  | 4.414e-06 |  | 0.024222
[24 empty] | 94 | -28 |  | -0.79893 |  | 1e-06 |  | 0.029935 |  | 0.029935 |  | 0.029935 | 1.6248e-07 |  | 29935.14 |  | 1.32 |  | 3.45 |  | 3.45e-06 |  | 0.011692 |  | 3.58 |  | 3.58e-06 |  | 0.011237 | [5 empty] | 29941.685 | 0.61496 | 0.002054% |  | 94 | -28 |  | -0.79893 |  | 1e-06 |  | 0.017681 |  | 0.017682 |  | 0.01768 |  | 5.4723e-07 |  | 17680.64 |  | 0.67 |  | 3.7635 |  | 3.7635e-06 |  | 0.024674 |  | 4.254 |  | 4.254e-06 |  | 0.018637
[24 empty] | 95 | -30 |  | -0.85599 |  | 1e-06 |  | 0.029929 |  | 0.02993 |  | 0.029927 | 9.9398e-07 |  | 29928.5 |  | 1.29 |  | 3.16 |  | 3.16e-06 |  | 0.011675 |  | 3.32 |  | 3.32e-06 |  | 0.010154 | [5 empty] | 29934.7531 | 0.38688 | 0.001292% |  | 95 | -30 |  | -0.85599 |  | 1e-06 |  | 0.017674 |  | 0.017675 |  | 0.017673 |  | 5.5159e-07 |  | 17674.09 |  | 0.64 |  | 3.567 |  | 3.567e-06 |  | 0.021427 |  | 3.273 |  | 3.273e-06 |  | 0.021985
[24 empty] | 96 | -32 |  | -0.91306 |  | 1e-06 |  | 0.029923 |  | 0.029926 |  | 0.02992 | 2.0367e-06 |  | 29922.5 |  | 1.27 |  | 3.47 |  | 3.47e-06 |  | 0.010694 |  | 3 |  | 3e-06 |  | 0.013335 | [5 empty] | 29927.8212 | 0.6788 | 0.002268% |  | 96 | -32 |  | -0.91306 |  | 1e-06 |  | 0.017666 |  | 0.017667 |  | 0.017666 |  | 4.1473e-07 |  | 17666.37 |  | 0.59 |  | 3.4115 |  | 3.4115e-06 |  | 0.020308 |  | 3.861 |  | 3.861e-06 |  | 0.016866
[24 empty] | 97 | -34 |  | -0.97013 |  | 1e-06 |  | 0.029915 |  | 0.029916 |  | 0.029914 | 7.3593e-07 |  | 29914.62 |  | 1.25 |  | 3.635 |  | 3.635e-06 |  | 0.011743 |  | 3.94 |  | 3.94e-06 |  | 0.01127 | [5 empty] | 29920.8893 | 1.6107 | 0.005383% |  | 97 | -34 |  | -0.97013 |  | 1e-06 |  | 0.01766 |  | 0.017661 |  | 0.017659 |  | 7.0952e-07 |  | 17660.45 |  | 0.56 |  | 3.079 |  | 3.079e-06 |  | 0.019422 |  | 2.962 |  | 2.962e-06 |  | 0.018198
[24 empty] | 98 | -36 |  | -1.0272 |  | 1e-06 |  | 0.029908 |  | 0.029909 |  | 0.029907 | 8.309e-07 |  | 29907.96 |  | 1.22 |  | 3.515 |  | 3.515e-06 |  | 0.012301 |  | 3.33 |  | 3.33e-06 |  | 0.012523 | [5 empty] | 29913.9574 | 0.66264 | 0.002215% |  | 98 | -36 |  | -1.0272 |  | 1e-06 |  | 0.017654 |  | 0.017654 |  | 0.017653 |  | 4.313e-07 |  | 17654.05 |  | 0.52 |  | 2.529 |  | 2.529e-06 |  | 0.017529 |  | 3.196 |  | 3.196e-06 |  | 0.010602
[24 empty] | 99 | -38 |  | -1.0843 |  | 1e-06 |  | 0.029901 |  | 0.029901 |  | 0.0299 | 4.5431e-07 |  | 29900.56 |  | 1.2 |  | 3.745 |  | 3.745e-06 |  | 0.011895 |  | 3.7 |  | 3.7e-06 |  | 0.012827 | [5 empty] | 29907.0254 | 0.93456 | 0.003125% |  | 99 | -38 |  | -1.0843 |  | 1e-06 |  | 0.01765 |  | 0.017651 |  | 0.01765 |  | 3.3015e-07 |  | 17650.33 |  | 0.5 |  | 2.2685 |  | 2.2685e-06 |  | 0.014398 |  | 1.862 |  | 1.862e-06 |  | 0.015232
[24 empty] | 100 | -40 |  | -1.1413 |  | 1e-06 |  | 0.029893 |  | 0.029894 |  | 0.029892 | 4.6217e-07 |  | 29892.98 |  | 1.17 |  | 3.3833 |  | 3.3833e-06 |  | 0.021275 |  | 3.79 |  | 3.79e-06 |  | 0.010763 | [5 empty] | 29900.0935 | 0.46648 | 0.00156% |  | 100 | -40 |  | -1.1413 |  | 1e-06 |  | 0.017645 |  | 0.017645 |  | 0.017645 |  | 3.1093e-07 |  | 17644.98 |  | 0.47 |  | 2.581 |  | 2.581e-06 |  | 0.023839 |  | 2.675 |  | 2.675e-06 |  | 0.014429
[24 empty] | 101 | -41 |  | -1.1699 |  | 1e-06 |  | 0.02989 |  | 0.02989 |  | 0.029889 | 2.8983e-07 |  | 29889.8 |  | 1.16 |  | 3.1961 |  | 3.1961e-06 |  | 0.024456 |  | 3.18 |  | 3.18e-06 |  | 0.011907 | [5 empty] | 29893.1616 | -0.1816 | -0.0006075% |  | 101 | -41 |  | -1.1699 |  | 1e-06 |  | 0.017642 |  | 0.017643 |  | 0.017642 |  | 3.1891e-07 |  | 17642.45 |  | 0.46 |  | 2.4901 |  | 2.4901e-06 |  | 0.029043 |  | 2.534 |  | 2.534e-06 |  | 0.0091737
[24 empty] | 102 | -61 |  | -1.7405 |  | 1e-06 |  | 0.029819 |  | 0.029821 |  | 0.029818 | 1.0092e-06 |  | 29819.44 |  | 0.92 |  | 3.46 |  | 3.46e-06 |  | 0.0062218 |  | 3.518 |  | 3.518e-06 |  | 0.011514 | [5 empty] | 29889.6956 | 0.10436 | 0.0003492% |  | 102 | -61 |  | -1.7405 |  | 1e-06 |  | 0.01761 |  | 0.017611 |  | 0.017609 |  | 8.6514e-07 |  | 17610.22 |  | 0.27 |  | 1.2254 |  | 1.2255e-06 |  | 0.0049469 |  | 1.6111 |  | 1.6111e-06 |  | 0.0047818
[24 empty] | 103 | -81 |  | -2.3112 |  | 1e-06 |  | 0.029751 |  | 0.029752 |  | 0.02975 | 6.0332e-07 |  | 29751.4 |  | 0.69 |  | 3.4355 |  | 3.4355e-06 |  | 0.011709 |  | 3.402 |  | 3.402e-06 |  | 0.011741 | [5 empty] | 29820.3764 | -0.93644 | -0.00314% |  | 103 | -81 |  | -2.3112 |  | 1e-06 |  | 0.017593 |  | 0.017594 |  | 0.017593 |  | 5.7818e-07 |  | 17593.43 |  | 0.18 |  | 0.7413 |  | 7.413e-07 |  | 0.0069768 |  | 0.8398 |  | 8.398e-07 |  | 0.0036601
[24 empty] | 104 | -101 |  | -2.8818 |  | 1e-06 |  | 0.029682 |  | 0.029683 |  | 0.029682 | 4.9153e-07 |  | 29682.02 |  | 0.46 |  | 3.4415 |  | 3.4415e-06 |  | 0.011626 |  | 3.469 |  | 3.469e-06 |  | 0.011555 | [5 empty] | 29751.0572 | 0.34276 | 0.001152% |  | 104 | -101 |  | -2.8818 |  | 1e-06 |  | 0.017581 |  | 0.017581 |  | 0.01758 |  | 5.6965e-07 |  | 17580.57 |  | 0.1 |  | 0.57395 |  | 5.7395e-07 |  | 0.0042204 |  | 0.6428 |  | 6.428e-07 |  | 0.0028761
[24 empty] | 105 | -121 |  | -3.4525 |  | 1e-06 |  | 0.029614 |  | 0.029614 |  | 0.029614 | 8e-08 |  | 29613.74 |  | 0.23 |  | 3.3945 |  | 3.3945e-06 |  | 0.011489 |  | 3.414 |  | 3.414e-06 |  | 0.011423 | [5 empty] | 29681.738 | 0.28196 | 0.0009499% |  | 105 | -121 |  | -3.4525 |  | 1e-06 |  | 0.01757 |  | 0.017571 |  | 0.01757 |  | 3.626e-07 |  | 17570.47 |  | 0.05 |  | 0.4583 |  | 4.583e-07 |  | 0.0026096 |  | 0.5051 |  | 5.051e-07 |  | 0.0023431
[24 empty] | 106 | -141 |  | -4.0232 |  | 1e-06 |  | 0.029546 |  | 0.029547 |  | 0.029545 | 6.8586e-07 |  | 29546.24 |  | 0 | [7 empty] | 3.375 |  | 3.375e-06 |  | 0.011423 | [5 empty] | 29612.4188 | 1.3212 | 0.004462% |  | 106 | -141 |  | -4.0232 |  | 1e-06 |  | 0.017562 |  | 0.017563 |  | 0.017562 |  | 5.4266e-07 |  | 17562.24 |  | 0 | [7 empty] | 0.4115 |  | 4.115e-07 |  | 0.0023431
[24 empty] | 107 | -141 |  | -4.0232 |  | 1e-06 |  | 0.029546 |  | 0.029547 |  | 0.029545 | 6.8586e-07 |  | 29546.24 |  | 0 | [17 empty] | 29543.0996 | 3.1404 | 0.01063% |  | 107 | -141 |  | -4.0232 |  | 1e-06 |  | 0.017562 |  | 0.017563 |  | 0.017562 |  | 5.4266e-07 |  | 17562.24 |  | 0
[25 empty] | Magnetic Field Coils Current (A) | Output Voltage Average (V)
[25 empty] | -4.0232 | 0.029549
[25 empty] | -3.4525 | 0.029615 | [38 empty] | Magnetic Field Set Point (Oe) | Magnetic Field Coils Current (A) | Output Voltage Average (V)
[25 empty] | -2.8818 | 0.029683 | [38 empty] | -141 | -4.0232 | 0.017565
[25 empty] | -2.3112 | 0.029752 | [38 empty] | -121 | -3.4525 | 0.017572
[25 empty] | -1.7405 | 0.02982 | [38 empty] | -101 | -2.8818 | 0.017581
[25 empty] | -1.1699 | 0.029889 | [38 empty] | -81 | -2.3112 | 0.017594
[25 empty] | -1.1413 | 0.029893 | [38 empty] | -61 | -1.7405 | 0.017611
[25 empty] | -1.0843 | 0.029899 | [38 empty] | -41 | -1.1699 | 0.01764
[25 empty] | -1.0272 | 0.029906 | [38 empty] | -40 | -1.1413 | 0.017642
[25 empty] | -0.97013 | 0.029915 | [38 empty] | -38 | -1.0843 | 0.017645
[25 empty] | -0.91306 | 0.02992 | [38 empty] | -36 | -1.0272 | 0.017649
[25 empty] | -0.85599 | 0.029927 | [38 empty] | -34 | -0.97013 | 0.017655
[25 empty] | -0.79893 | 0.029934 | [38 empty] | -32 | -0.91306 | 0.017662
[25 empty] | -0.74186 | 0.029941 | [38 empty] | -30 | -0.85599 | 0.017668
[25 empty] | -0.68479 | 0.029947 | [38 empty] | -28 | -0.79893 | 0.017675
[25 empty] | -0.62773 | 0.029954 | [38 empty] | -26 | -0.74186 | 0.017683
[25 empty] | -0.57066 | 0.02996 | [38 empty] | -24 | -0.68479 | 0.017693
[25 empty] | -0.5136 | 0.029968 | [38 empty] | -22 | -0.62773 | 0.017703
[25 empty] | -0.45653 | 0.029975 | [38 empty] | -20 | -0.57066 | 0.017714
[25 empty] | -0.39946 | 0.029981 | [38 empty] | -18 | -0.5136 | 0.017728
[25 empty] | -0.3424 | 0.029989 | [38 empty] | -16 | -0.45653 | 0.017744
[25 empty] | -0.28533 | 0.029996 | [38 empty] | -14 | -0.39946 | 0.017767
[25 empty] | -0.22826 | 0.030003 | [38 empty] | -12 | -0.3424 | 0.017799
[25 empty] | -0.1712 | 0.03001 | [38 empty] | -10 | -0.28533 | 0.017845
[25 empty] | -0.11413 | 0.030016 | [38 empty] | -8 | -0.22826 | 0.017901
[25 empty] | -0.057066 | 0.030023 | [38 empty] | -6 | -0.1712 | 0.017961
[25 empty] | 0 | 0.030029 | [38 empty] | -4 | -0.11413 | 0.018023
[25 empty] | 0.057066 | 0.030038 | [38 empty] | -2 | -0.057066 | 0.018084
[25 empty] | 0.11413 | 0.030044 | [38 empty] | 0 | 0 | 0.018143
[25 empty] | 0.1712 | 0.030051 | [38 empty] | 2 | 0.057066 | 0.018203
[25 empty] | 0.22826 | 0.030058 | [38 empty] | 4 | 0.11413 | 0.018263
[25 empty] | 0.28533 | 0.030065 | [38 empty] | 6 | 0.1712 | 0.018323
[25 empty] | 0.3424 | 0.030072 | [38 empty] | 8 | 0.22826 | 0.01838
[25 empty] | 0.39946 | 0.030078 | [38 empty] | 10 | 0.28533 | 0.018441
[25 empty] | 0.45653 | 0.030085 | [38 empty] | 12 | 0.3424 | 0.018498
[25 empty] | 0.5136 | 0.030092 | [38 empty] | 14 | 0.39946 | 0.018552
[25 empty] | 0.57066 | 0.030099 | [38 empty] | 16 | 0.45653 | 0.018604
[25 empty] | 0.62773 | 0.030106 | [38 empty] | 18 | 0.5136 | 0.01865
[25 empty] | 0.68479 | 0.030113 | [38 empty] | 20 | 0.57066 | 0.018687
[25 empty] | 0.74186 | 0.03012 | [38 empty] | 22 | 0.62773 | 0.018707
[25 empty] | 0.79893 | 0.030127 | [38 empty] | 24 | 0.68479 | 0.018719
[25 empty] | 0.85599 | 0.030133 | [38 empty] | 26 | 0.74186 | 0.018726
[25 empty] | 0.91306 | 0.03014 | [38 empty] | 28 | 0.79893 | 0.018729
[25 empty] | 0.97013 | 0.030147 | [38 empty] | 30 | 0.85599 | 0.018728
[25 empty] | 1.0272 | 0.030154 | [38 empty] | 32 | 0.91306 | 0.018729
[25 empty] | 1.0843 | 0.030162 | [38 empty] | 34 | 0.97013 | 0.018729
[25 empty] | 1.1413 | 0.030169 | [38 empty] | 36 | 1.0272 | 0.01873
[25 empty] | 1.712 | 0.030239 | [38 empty] | 38 | 1.0843 | 0.018733
[25 empty] | 2.2826 | 0.03031 | [38 empty] | 40 | 1.1413 | 0.018736
[25 empty] | 2.8533 | 0.03038 | [38 empty] | 60 | 1.712 | 0.01874
[25 empty] | 3.424 | 0.03045 | [38 empty] | 80 | 2.2826 | 0.01874
[25 empty] | 3.9946 | 0.03052 | [38 empty] | 100 | 2.8533 | 0.018738
[25 empty] | 4.0232 | 0.030524 | [38 empty] | 120 | 3.424 | 0.018729
[25 empty] | 4.0232 | 0.030524 | [38 empty] | 140 | 3.9946 | 0.018718
[25 empty] | 3.9946 | 0.03052 | [38 empty] | 141 | 4.0232 | 0.018716
[25 empty] | 3.424 | 0.03045 | [38 empty] | 141 | 4.0232 | 0.018716
[25 empty] | 2.8533 | 0.030381 | [38 empty] | 140 | 3.9946 | 0.018717
[25 empty] | 2.2826 | 0.030311 | [38 empty] | 120 | 3.424 | 0.018729
[25 empty] | 1.712 | 0.030242 | [38 empty] | 100 | 2.8533 | 0.018734
[25 empty] | 1.1413 | 0.030172 | [38 empty] | 80 | 2.2826 | 0.018738
[25 empty] | 1.0843 | 0.030164 | [38 empty] | 60 | 1.712 | 0.018738
[25 empty] | 1.0272 | 0.030157 | [38 empty] | 40 | 1.1413 | 0.018738
[25 empty] | 0.97013 | 0.03015 | [38 empty] | 38 | 1.0843 | 0.018737
[25 empty] | 0.91306 | 0.030144 | [38 empty] | 36 | 1.0272 | 0.018735
[25 empty] | 0.85599 | 0.030136 | [38 empty] | 34 | 0.97013 | 0.018736
[25 empty] | 0.79893 | 0.030129 | [38 empty] | 32 | 0.91306 | 0.018734
[25 empty] | 0.74186 | 0.030122 | [38 empty] | 30 | 0.85599 | 0.018732
[25 empty] | 0.68479 | 0.030116 | [38 empty] | 28 | 0.79893 | 0.018729
[25 empty] | 0.62773 | 0.030109 | [38 empty] | 26 | 0.74186 | 0.018727
[25 empty] | 0.57066 | 0.030102 | [38 empty] | 24 | 0.68479 | 0.018722
[25 empty] | 0.5136 | 0.030094 | [38 empty] | 22 | 0.62773 | 0.018714
[25 empty] | 0.45653 | 0.030087 | [38 empty] | 20 | 0.57066 | 0.018701
[25 empty] | 0.39946 | 0.03008 | [38 empty] | 18 | 0.5136 | 0.018676
[25 empty] | 0.3424 | 0.030073 | [38 empty] | 16 | 0.45653 | 0.01864
[25 empty] | 0.28533 | 0.030067 | [38 empty] | 14 | 0.39946 | 0.018594
[25 empty] | 0.22826 | 0.03006 | [38 empty] | 12 | 0.3424 | 0.01854
[25 empty] | 0.1712 | 0.030054 | [38 empty] | 10 | 0.28533 | 0.018484
[25 empty] | 0.11413 | 0.030047 | [38 empty] | 8 | 0.22826 | 0.018422
[25 empty] | 0.057066 | 0.030039 | [38 empty] | 6 | 0.1712 | 0.018362
[25 empty] | 0 | 0.030031 | [38 empty] | 4 | 0.11413 | 0.018303
[25 empty] | -0.057066 | 0.030026 | [38 empty] | 2 | 0.057066 | 0.018244
[25 empty] | -0.11413 | 0.030018 | [38 empty] | 0 | 0 | 0.018185
[25 empty] | -0.1712 | 0.030011 | [38 empty] | -2 | -0.057066 | 0.018127
[25 empty] | -0.22826 | 0.030004 | [38 empty] | -4 | -0.11413 | 0.018066
[25 empty] | -0.28533 | 0.029998 | [38 empty] | -6 | -0.1712 | 0.018005
[25 empty] | -0.3424 | 0.029991 | [38 empty] | -8 | -0.22826 | 0.017944
[25 empty] | -0.39946 | 0.029984 | [38 empty] | -10 | -0.28533 | 0.017882
[25 empty] | -0.45653 | 0.029977 | [38 empty] | -12 | -0.3424 | 0.017829
[25 empty] | -0.5136 | 0.02997 | [38 empty] | -14 | -0.39946 | 0.017787
[25 empty] | -0.57066 | 0.029963 | [38 empty] | -16 | -0.45653 | 0.017759
[25 empty] | -0.62773 | 0.029956 | [38 empty] | -18 | -0.5136 | 0.017739
[25 empty] | -0.68479 | 0.029949 | [38 empty] | -20 | -0.57066 | 0.017724
[25 empty] | -0.74186 | 0.029942 | [38 empty] | -22 | -0.62773 | 0.01771
[25 empty] | -0.79893 | 0.029935 | [38 empty] | -24 | -0.68479 | 0.017698
[25 empty] | -0.85599 | 0.029929 | [38 empty] | -26 | -0.74186 | 0.017689
[25 empty] | -0.91306 | 0.029923 | [38 empty] | -28 | -0.79893 | 0.017681
[25 empty] | -0.97013 | 0.029915 | [38 empty] | -30 | -0.85599 | 0.017674
[25 empty] | -1.0272 | 0.029908 | [38 empty] | -32 | -0.91306 | 0.017666
[25 empty] | -1.0843 | 0.029901 | [38 empty] | -34 | -0.97013 | 0.01766
[25 empty] | -1.1413 | 0.029893 | [38 empty] | -36 | -1.0272 | 0.017654
[25 empty] | -1.1699 | 0.02989 | [38 empty] | -38 | -1.0843 | 0.01765
[25 empty] | -1.7405 | 0.029819 | [38 empty] | -40 | -1.1413 | 0.017645
[25 empty] | -2.3112 | 0.029751 | [38 empty] | -41 | -1.1699 | 0.017642
[25 empty] | -2.8818 | 0.029682 | [38 empty] | -61 | -1.7405 | 0.01761
[25 empty] | -3.4525 | 0.029614 | [38 empty] | -81 | -2.3112 | 0.017593
[25 empty] | -4.0232 | 0.029546 | [38 empty] | -101 | -2.8818 | 0.017581
[25 empty] | -4.0232 | 0.029546 | [38 empty] | -121 | -3.4525 | 0.01757
[65 empty] | -141 | -4.0232 | 0.017562
[65 empty] | -141 | -4.0232 | 0.017562

## Sheet2
Sample | Graph | k | Erro | b | Erro | chi^2 | n_d | chi^2/n_d
1st | Resistance (Magnetic Field), Ohm [Oe] | 3.466 | 0.0001749 | 30031.8 | 0.0096677 | 27146.5 | 105 | 258.5381
| Voltage (Magnetic Field), V [Oe] | 3.466e-06 | 1.749e-10 | 0.030032 | 9.6677e-09 | 27146.5 | 105 | 258.5381
| MR (Magnetic Field), %[Oe] | 0.011737 | 1.749e-05 | 1.6433 | 9.6676e-07 | 41.4803 | 105 | 0.39505
| Current (Magnetic Field), A[Oe] | 0.028533 | 1.749e-08 | 1.749e-08 | 0.00096677 | 2.8868 | 105 | 0.027494
| Voltage (Current), V[A] | 0.00012147 | 6.1296e-09 | 0.030032 | 9.6677e-09 | 27146.4 | 105 | 258.5371
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
| FAZER GRÁFICO DE R EUM FUNÇÃO DE I e determinar MR, como no PDF do artigo da Susana!!! | [6 empty] | #DIV/0!
| Não obrigatorio, pois é V(I), basta dividir tudo pela Ibias | [6 empty] | #DIV/0!
Por Tabela com R_0 (ordenada na origem) e MR (declive), em ohm e ohm/mA, resp
Sinomags | Graph | a | Erro | b | Erro b | chi2 | n_d | chi2/n_d
| Average before | 3.1421 | 0.0025043 | -1.6961 | 0.02315 | 2.2329 | 37 | 0.060349
| LL | 3.1418 | 0.00145 | -1.6715 | 0.016203 | 9.4073 | 37 | 0.25425
| LR | 3.1554 | 0.0014507 | -1.7284 | 0.016206 | 24.3689 | 37 | 0.65862
| HL | 3.1307 | 0.0014499 | -1.6738 | 0.016202 | 10.3898 | 37 | 0.28081
| HR | 3.1398 | 0.00145 | -1.756 | 0.016203 | 14.8667 | 37 | 0.4018
| Average after Centro | 3.1418 | 0.0026352 | -1.7032 | 0.023539 | 1.887 | 37 | 0.051001
| I_H | Declive | Erro | chi^2 | chi^2/n_d
|  | 35.047 | 0.030647 | 1.4209e-06 | 1.3404e-08